## Slide 1: Laser Safety Implementation at Fermilab’s FAST Facility
Chip Edstrom
Laser Safety Officer Workshop
09-27-2016

## Slide 2: The Fermilab Accelerator Science & Technology Facility FAST – By The Numbers
Parameter | Value
Calmar Seed Laser Output | 500 mW, 1053 nm @ 81.25 MHz
NGA IR Output | 50 uJ/pulse, 1054 nm
UV Transport | 5 μJ/pulse 253 nm
Bunch charge | < 10 fC – 3.2 nC per pulse
Bunch train | 0.5 – 9 MHz (Nom: 3 MHz) for up to 1 ms
Bunch train frequency | 1 – 5 Hz
Electron Bunch Length | 0.94 ps – 50 ps (Nominal: 4 ps)
Low Energy Transport Range | 20 MeV – 50 MeV

## Slide 4: Why FAST?
UV Drive Laser Based Photoinjector
  Short (ps-scale) pulse length for short time resolution measurements
50 MeV Low Energy Section from two 9-Cell SRF Cavities
  Crystal channeling @ 45 MeV → High-intensity X-ray source
Future
  300 MeV High Energy Section from an 8-Cavity Cryomodule
    Offers flexible energy range for injection to IOTA @ 150 MeV
    Inverse Compton Scattering @ 300 MeV → High-brilliance γ-ray source
  IOTA
    More beam means more statistics beyond PIP-II!

## Slide 6: The FAST Drive Laser

## Slide 7: Safety System - Interlocks
THE FAST LASER LAB
3 Primary Modes
Safety system inhibits through shutters/amps
Designed fail-safe
Regular Testing
How we stop the beam…

## Slide 8: Machine Protection System (MPS)
How we start the beam…
Overview
Permit Generator & Laser Pulse Controller

## Slide 9: Laser Lab Administrative Controls
Stanard Operating Proceedures
Laser Lab
Drive Laser
Alignment
527 nm
Viewports

## Slide 11: Beamline Laser Safety - Gun
In the cave
UV/IR Xport
COB
Viewports
MPI
OTR Transport

## Slide 12: Beamline Laser Safety - Goniometer
Considerations:
Viewports
Laser Position Monitors

## Slide 13: Beamline Laser & X-Ray Safety – Crystal Channeling
Considerations:
Viewports
X-Rays (Bremsstrahlung)

## Slide 14: Streak Camera & The Martin-Puplett Interferometer
Used for electron bunch length measurement.
Fully enclosed
THz radiation comes from
the OTR foil at x121

## Slide 15: In Summary – Visit us @ FAST.fnal.gov
50 MeV operations concluded Summer 2016
  Building-out 300 MeV Line (Beam 2017)
  HINS Work in Progress (2.5 MeV P Beam at MDB 2017)
  IOTA Construction / Fabrication / Procurement in progress (e Beam 2018)
    Protons from HINS to follow after move from MDB
Shielding Assessment is being finalized
  High energy enclosure being built
Interlocks and MPS are growing
  To accommodate High Energy Beamline / IOTA