## Slide 1: Cavity and Cryomodule Test Workshop for LCLS-II Welcome and charge for the workshop
(Organized by Anna Grassellino, Genfa Wu, Elvin Harms, Sebastian Aderhold, Janice Nelson, et al)
Marc Ross
29 October 2015

## Slide 2: Introduction
In early 2016 the LCLS-II SRF linac will start to come together.
first newly fabricated 1.3 GHz cavities and
first two cryomodules, #F1.3-1 and #J1.3-1, by May. 
kickoff the production phase of the project.
This Workshop is intended to define
standardized test plans,
acceptance criteria,
instrumentation standards and
procedures for LCLS-II SRF production.

## Slide 3: Introduction(2):
4 working groups:
Vertical testing,
Horizontal testing, and
A) prototype /
B) production Cryomodule testing
See Workshop WG Outline: https://indico.fnal.gov/internalPage.py?pageId=0&confId=10553
4 workshop sessions :
an opening plenary intended to capture experiences and put forth aspects that are special to CW operation (e.g. cryogenic heat-load performance and field emission radiation),
an open-agenda plenary discussion intended to synthesize test and acceptance qualification-related topics,
a working parallel session for preparing summaries and
a closing plenary session.

## Slide 4: CW SRF Linac cavity and cryomodule qualification and acceptance
Two important considerations:
  How to best capitalize on E-XFEL, 12 GeV, ANL, and SNS experience
    Vertical test at DESY for the European XFEL production: procedures, lessons learned
    CM test experience at DESY for the European XFEL
    Vertical test experience at JLAB for the CEBAF upgrade
    Cryomodules CW test experience at JLAB
    Vertical, horizontal and CM test experience at ANL
    CM test experience at ORNL
  Focus on technical adaptations required for CW operation
    CW Cryomodule testing at DESY - differences from pulsed tests
    Field emission modeling
    Vertical and Horizontal High Q testing -lessons learned for LCLS-2

## Slide 5: Vertical Test
To consider:
(In addition to outline-topics)
All production cavities will be ‘dressed’
  This critical fabrication step must be done by industry
  Cavities delivered directly to VT facility  XFEL scheme

## Slide 6: Horizontal Test
Risk-mitigation.
  Indicated as a reaction to problems or ?
Project plan only allows for a few
Best ‘integrated’ test-bed

## Slide 7: Prototype Cryomodule (pCM) Test
Intended to establish production process/procedures including
assembly, testing, sub-component qualification
(Parts for the production CM are now on order)
Workshop WG Outline is quite long!
Commissioning CMTS-1

## Slide 8: Production Cryomodule Test
Ultimately performance of the linac will be limited by:
Quench-gradient E_acc
Radiation-generated
Cryogenic-load
Coupler-heating
Available RF power (micro-phonic stability)
Behaviour of ancillary equipment (tuner, coupling, HOM,…)
Notes: 3b) Motivation/Purpose – Production CM Acceptance Criteria
When to reject; how long does one troubleshoot before warming up and removing?
What is the Rework plan?
Magnetic Shielding
Acceptance criteria – How are tests ranked?
Usable Eacc (operating vs. breakdown or administrative limit)
Q0
Rs_res,Rs_BCS (are R measurements possible on a CM?)
Onset of FE, magnitude at nominal gradient
Dark current
Coupler condition
QE range
Tuner/piezo range & resolution
Microphonics/LFDC
Test Procedure
What are the critical Cryogenic operating parameters and acceptable limits? How long a cold soak after cool down is needed?
What are the acceptable vacuum limits in all three circuits – beam tube, coupler, insulating. Are RGA scans needed?
What instrumentation needs to be standardized especially with respect to position relative to the cryomodule and readout (especially for Field Emission)?
Cooldown/Test procedure – how to verify flux expulsion/minimization given different test set ups
What to test – overall performance with all cavities on, and with single cavities For many couplers this will be the first operation at cold. How extensive are single cavity tests?
Ancillary systems – what and how does one measure/verify thermometry, BPM, magnet, etc?
Test Reports format and content
Standardized test report definition
Development and guidance for the use of CM testing Travelers

## Slide 9: Welcome:
Working groups will summarize their discussion in the closing plenary
Close with recommendations  not more questions
The workshop record will be an LCLSII Physics Technical Note.
  Please prepare both summary slides and a summary document