## Slide 1
Kostas Mavrokoridis -TPC Manager (k.mavrokoridis@liverpool.ac.uk )
Directors’ Progress Review of SBN
15-17 Dec 2015, Fermilab
SBND TPC Status

## Slide 2: Outline -Key TPC Components
Field Cage
  Field cage panels
  Roll-formed metallic profiles
  Resistor divider board
  Supporting beams
HV Feedthrough
TPC Integration
  APA Interconnect and alignment
  TPC suspension features
  TPC assembly procedure and tooling
APA
  APA frames
  Geometry boards, mounting platforms
  Wire mesh, wire support, E-diverter
  APA assembly procedure and tooling
  Interface to electronics; faraday cage
  APA winding
CPA
  CPA frames & panels
  HV Cup
  CPA suspension features
http://sbn-docdb.fnal.gov:8080/cgi-bin/RetrieveFile?docid=613&filename=sbnd-tpc-PDR-review.pdf&version=1
Preliminary Design Report (docdb ID 613)
Review was held Sept 2015

## Slide 3: The SBND TPC Working Group
Deliverables | Institution
Four APA Frames (2UK&2US) | University of Sheffield
Winding two APAs | University of Manchester
Winding two APAs | Chicago, Syracuse and Yale
CPAs | University of Liverpool
HV Feedthrough | UCL and Yale
Field Cage | BNL and Yale
QA/APA cold tests | Lancaster University
Integration, Assembly, and Installation | Chicago, BNL and Fermilab
Collaboration between UK and USA Institutions,
funded by NSF and STFC

## Slide 4: The SBND TPC Working Group
The WBS Managers
funded by NSF and STFC

## Slide 5: TPC Requirements
The TPC volume is large enough to achieve the physics goals of the experiment.
The 3 mm wire pitch is chosen, as in the MicroBooNE and ICARUS detectors, to enable electron/photon separation to be achieved with identical efficiency.
Limit variation in the wire sag to < 0.5 mm such that it does not significantly impact the position and energy resolution of the detector.
The APAs are constructed in a manner that guarantees no wires will break during the operational life of the experiment.
The electric field must not exceed 30 kV/cm inside the liquid, and not exceed 5 kV/cm in the argon gas to prevent HV breakdown.
Minimize dead space in the active volume: place the cathode in the center of the TPC.
The wire plane and HV cathode designs must be compatible with the photon detection system designs being considered for the experiment.
Use only materials that are compatible with high-purity liquid argon.

## Slide 6: TPC Parameters

## Slide 7: SBND TPC Layout
2 APA frames per side
2 cathode frames down the center
Field Cage
on 4 sides
6 connection points to cryostat lid
Field Cage
support beams
HV cup
5 m
4 m
4 m
E
E

## Slide 8
“mobile” cryostat lid plate
“fixed” cryostat lid plate
60 cm insulation
Outer mechanical support. Membrane cryostat built inside.

## Slide 9: APA Frame
± 2 mm flat welded frame
Leveling plate
FEA: Max X displacement 0.85 mm
University of Sheffield & Chicago
Fabricated from 150 x 100 x 5mm 304 Stainless Steel rectangular hollow sections (RHS)
For 3 mm wire plane separation need better than ± 2 mm flatness, plate adjustable to ± 0.5 mm
Bare frame weight = 480 kg

## Slide 10: APA Frame
Prototyping levelling plates -deformation check at Sheffield
Shims

## Slide 11: APA Frame
University of Sheffield & Chicago

## Slide 12: APA Frame
Full Assembly Deflection
Top & Bottom inserts plus 9 12mm bolts

## Slide 13: APA Frame
Tack welded
Tube attachments
Screw mounted attachment - 8 M6 screws
Lifting fixture
Deformation while lifting at horizontal position 0.7 mm

## Slide 14: APA Frame
APA bare frame and jig review on Dec 17th
Almost ready to place an order
Quote from Portobello:
4 APAs and Jig 129k GBP
Levelling bars and laser surveys 43k GBP
Final bare frame design

## Slide 15: APA Construction
APA leveling plates to achieve flat surface for the geometry boards (± 0.5 mm adjustment)
Three layers of the Geometry Boards
Total Estimate for all boards: ~80k$
All geometry boards are modeled in 3D
Layout of the Y_top Geometry Board Complete

## Slide 16: APA Construction –Electron Deflector
Electron deflector to recover the “dead” region (15mm) between the two interconnected APAs
To be tested in 35t
Preliminary studies with the Liverpool camera readout TPC
in gas
Alpha tracks 1s exposure

## Slide 17: APA Winding
Two winding Facilities
Daresbury, UK (Manchester group)
Yale, USA (Syracuse group)
UK Daresbury Space

## Slide 18: APA Winding
UK Daresbury space ready to be used

## Slide 19: APA Winding
Winding Procedure UK: Semi automated
Turntable framework and bridge design is complete

## Slide 20: APA Winding
The New Wright Laboratory
space for SBND assembly
Facilities
85,200 sf of lab and office space include
- PI laboratories
- Specialized laboratories
- Prototyping, teaching, fabrication shops

## Slide 21: APA Winding
Syracuse group works
with PSL
Detector assembly and staging areas.
Currently undergoing renovations.
Available in summer 2016
The New Wright Laboratory
Winding Procedure US: Manual

## Slide 22: APA Winding
Winding Procedure US: Manual
1. Starting position
2. The 1st fold brings the wire outside the APA perpendicular to the side
3. The 2nd fold brings the wires down along the edge geometry boards where they are then soldered
Cost prototype ~40k USD
Cost for full machine ~50k USD
Prototype expected delivery February 2016
Procedure for wires to be placed over the edge:

## Slide 23: CPA
Baseline design transparent mesh
Construction University of Liverpool
CPA Made up of a Stainless steel frame and 8 stainless steel wire mesh smaller frames.
5 mm aperture
1 mm wire ID
70% transparency
Weight:
  half CPA Frame 130Kg
  each Mesh Panel 8.5Kg
  Total for 2 CPAs around 440Kg
HV Cup
FEA: Deflection 0.116 mm
Cost 39k GBP

## Slide 24: HV supply & Feedthrough
100 kV FT, Spring loaded tip based on 35ton design
Simulations:
  electric field
  thermal
Yale and UCL groups
Heinzinger PNChp 150000 – 1 neg
High Precision – HighVoltage – Power Supply
Material cost is 67k $

## Slide 25: Field Cage
5m
4m
4m
Work led by BNL and Yale
PCB based design
Roll-formed metallic profiles
Field cage Design

## Slide 26: Field Cage
A pre-assembled module:
32 bars @ 6cm pitch to cover 2m drift.
There is no electrical connection between adjacent field cage modules. Each module has its own resistive divider chain.
Profile and cap locking scheme
Resistive divider and surge suppressor chain
PCB design based on 35t
Awaiting performance of 35t and Roll-formed field cage prototype test at CERN
Cost ~250k USD
Cost ~67k USD
Roll-formed metallic profiles design

## Slide 27: TPC Integration & Installation
APA sub-assembly scheme
Work led by Chicago, BNL and Fermilab
Connected using two custom connection fixtures, allowing uniform gap and ensure alignment of U/V wires across two frames
M12 bolt connecting the frames

## Slide 28: TPC Integration & Installation
CPA Integration
G10 hanging brackets
G10 connecting brackets

## Slide 29: TPC Integration & Installation
Work led by Chicago, BNL and Fermilab
TPC assembly in the DAB tent
(See Joe Howell’s talk for more details)
Model of SBND assembly
Tent dimensions: 5.8 m (19 ft) high × 7.9 m (26 ft) wide × 15.2 m (50 ft) deep

## Slide 30: TPC Schedule
All TPC components to be delivered to Fermilab by March 2017
Finished
Expected Feb 16
1st UK frame 4/16
1st US frame 7/16