## Slide 1: Status Update: Nonlinear Optics Experiments at UMER
Kiersten Ruisard,
Timothy Koeth, Brian Beaudoin, Irving Haber, David Matthew, Heidi Baumgartner

## Slide 2: Outline
Overview: UMER and Nonlinear Optics
Nonlinear Experiments at UMER
  Single Channel
Octupole Design and Measurement
Preliminary Experiments
  N4 lattice
  Tune scan with octupoles
Ring Improvement
  Beam steering
  Re-anchoring and realignment

## Slide 3: UMER Overview
We (typically) operate in high intensity, “extreme” space charge regime!
System Parameters
Beam Length 20-140ns
Circulation Time 197ns
Circumference 11.5 m
Beam energy 10 keV
Beam current 0.6 - 100mA
Beam radius 0.25 - 10mm
Tune νx~ νy~ 6.6
= 0.85 – 0.14
Notes: Tune vy=vy=6.6, pulse length 15-145 ns,

## Slide 4: UMER as a testbed for nonlinear optics
Pros
  Existing facility
  Intuition about operation
  Well benchmarked codes (WARP)
  Variable intensity
  Flexible lattice
  Low-cost upgrade to nonlinear lattice
Cons
  Not designed as precision machine
  Not designed for non-fodo lattice
  Dense lattice with limited space
  Need to share with other experiments with AG lattice
  Too much intensity?

## Slide 5: Experimental Program
Pulsed Injector
Nonlinear Insert
1 0
-k 1
βx= βy
T-insert
Octupole strength
Notes: Many alternate lattices possible
Dr. Santiago Bernal has developed alternate lattice strategies for the ring.
----- Meeting Notes (7/19/13 12:02) -----
symmetry problem nbd.
flexible lattice
more room with alt lattice., more symmetry

## Slide 6
Octupole Channel
Matching Sections
Experimental Program
Notes: Max tune spread about half delta nu

## Slide 7: Experimental Program
Octupole Channel
(20 deg)
Ring divided into 4 sections of phase advance π
Families of 5 quadrupoles

## Slide 8: PC Octupole Magnets: Design
David Matthew

## Slide 9: PC Octupole Magnets: Characterization
Expect 75 T/m3/A based on Maxwell simulation
David Matthew

## Slide 10: PC Octupole Magnets: Characterization
David Matthew
Octupole
Skew Octupole
16-pole
Skew 16-pole

## Slide 11
PC Octupole Magnets: Characterization
David Matthew
Rotating coil apparatus
Coil
Magnet housing
Motor
Dipole
Quad
Sext
Oct
10-pole
12-pole
16-pole
EMF
Scope Data

## Slide 12
PC Octupole Magnets: Characterization
Heidi Baumgartner
3+1D Gauss Probe Stage

## Slide 13: N4 Lattice
4 Octupoles equally distributed
π phase advance between sections
1 0
-k 1
T-insert
Octupole strength
Alternative Lattice: remove every other quadrupole

## Slide 14: N4 lattice: operating point
π phase advance between sections

## Slide 15: PC Octupole Magnets: Installation
First turn beam image, varying octupole current (bipolar)

## Slide 16: Tune Scan – Alternative Lattice
2 2.5 3 3.5 4 4.5
4.5
4
3.5
3
2.5
2
Nominal Operating Point

## Slide 17: Preliminary Experiments
Nominal Operating Point
Desired Operating Point (near π phase advance)
Notes: Steering: horz rms 2 mm, max 5 mm
Vert: rms 2.5, max 1 cm

## Slide 18: Ring Improvement: Steering
bad BPM
bad BPM
*
*
*
S (meters)
Q65
Q69
Δx (mm)
Δy (mm)
BPM
Quadrupole

## Slide 19: Ring Improvement: Steering
Horizontal, MAX: 3 mm, RMS: 0.8 mm
Vertical: MAX: 10 mm, RMS: 3 mm
Additional vertical correctors necessary
Same scale as prev. slide
Note new scale (2x smaller)
Δy (mm)
20
10
0
-10
-20
BPM
Quadrupole
*
Notes: Multi-turn (first 4 turns):
MAX delta X 2 mm
MAX delta Y up to 1 cm
For Alt Lattice: Steering: horz rms 2 mm, max 5 mm
Vert: rms 2.5, max 1 cm

## Slide 20: UMER Realignment
https://youtu.be/EZcCYs80T8k
Credits:
Heidi Baumgartner (producer)
Dave Sutter
Eric Montgomery
Brian Beaudoin
Santiago Bernal
Tim Koeth
Rami Kishek
Irving Haber
Dave Matthew
Ana
Matt Teperman
Kiersten Ruisard
Notes: Tolerances from Dave?
Prev. movement of 2-4 mm on vacuum break, 20 lbs of inward force. Expected .5-1 mm, hopefully less.

## Slide 21: Conclusion
Octupoles tested and installed on ring for very preliminary testing
Ring fastened to floor and re-aligned, pump-down imminent
Focus for this summer:
  Recommissioning of the beam
  Simulation program to catch up to experimental
    Quantify conservation of Hamiltonian/ tune spread
  Characterization of octupoles
  Mechanical framework for single-channel experiment on 20-degree section
  N4 lattice tests at improved operating point
New mount for multi-octupole magnet