## Slide 1
Accelerator Division Status
Daniel Johnson
All Experimenters’ Meeting
19 December 2016

## Slide 2: Content Slide [22pt Bold]
Bullet points are optional. If preferred, only first level bullets can be used or bullets can be set to “NONE.” [18pt Regular]
First level bullet [18pt Regular]
  Second level bullet [16pt Regular]
    Third level bullet [15pt Regular]
      Fourth level bullet [14pt Regular]
        Fifth level bullet [14pt Regular]

## Slide 3: Accelerator Operations Summary
From: December 12, 2016 (0000 hours)
To: December 19, 2016 (0000 hours)
Calendar Week # 50
NuMI Weekly Integrated Intensity 1.36 E19 protons
Beam Hours To NuMI 158.6 hours
BNB Weekly Integrated Intensity 1.15 E19 protons
Beam Hours To BNB 164.1 hours
NMuon Weekly Integrated Intensity 0.00 E13 protons
Beam Hours To NMuon 0.0 hours
MTest Weekly Integrated Intensity 0.00 E13 protons
Beam Hours To MTest 0.0 hours
MCenter Weekly Integrated Intensity 0.00 E12 protons
Beam Hours To MCenter 0.0 hours

## Slide 4: NuMI Operation

## Slide 5: BNB Operation

## Slide 6: Content and Caption Slide [22pt Bold]
Click to add caption text [13pt Bold]
First level bullet [18pt Reg]
  Second level bullet [16pt]
    Third level bullet [15pt]
      Fourth level bullet [14pt]
        Fifth level bullet [14pt]

## Slide 7: Complex Status
LINAC
  Running well
Booster
  Running well
  ~3.6 E12 p/p
MI/RR
  Slipstacking 6+6
NuMI
  Running at ~500 kW
Booster Neutrino Beamline (BNB)
  Running well
Switchyard
  MI-52 septa short
  No beam until repairs are made
  Will coordinate repair with another failure or scheduled two-day shutdown.
General
  No planned accesses until January 2017
    No Call period for Christmas weekend
    Shutdown scheduled for January 10th and 11th .
    Master SubStation currently scheduled to be energized January 17th .

## Slide 8: MI-12 Communication Duct
Summary
Emergency Repair Plan In Place
  Need 2 hour notification
  Vendor has cable
New Communications Duct Plan
  Targeting communications duct installation completion by January
    A portion of new duct has been installed
    Plans for routing remainder of new duct underway
  Expect cable delivery in mid-January
  Hope to move to new cable in January/February
  Try to coordinate downtime with Master SubStation outages
Damaged on 10/24/16
Protected from further damage
Provides timing/date to Neutrino Experiments
Experiments running fine

## Slide 9: MS1 Bus Failure
All power supplies cabled into breaker panel
Work completed

## Slide 10: PIP-II Injector Test & FAST Status
PIP-II Injector Test
  RFQ operation
    Shutdown during the week
    Leaking RFQ vacuum window replaced
  Plans for the week
    Shutdown for ~ 1 week
    Install emittance scanner
    Maintenance
FAST
  No gun operation
    Working on drive laser
  Shutdown for 300 MeV upgrade
  Cave Roof Block Installation complete
    Working on shielding assessment
  Magnet and stand installation
  Working on IOTA proton injector source at MDB

## Slide 11: CMTS1 Status
LCLSII Prototype Cryo Module
  Cryo
    Cooldown holding at 4K
  Accomplishments
    Fast cooldown completed Sunday
    Miscellaneous other activities
  Plan for the week
    RGA scans in cave
    Control measurements at 4 K
    Start cooldown to 2K afternoon
    Secure cave and prepare for operation
    Tune cavity to 1.3 GHz
    LLRF checkout
    Magnet test plans and measurements

## Slide 12: ICW Reduction
Looking at measuring flows on systems
  Stakeholders impacted
    AD, TD, PPD, CD, FESS
      Need to establish new Casey’s Pond West Strainer Vault
      Everybody working on priority projects
        Will be difficult to line up downtime schedules
      Reducing flow will be painful
      Estimate two week reduction for work
      Performing measurements in late November/early December
  Planning on early 2017 (January)
    ICW measurements revealed higher than expected usage at some locations
      Resolved issues, current expectation
    2 week reduction period
    Should not impact most experiments
    Will impact experiments/projects with cryogenic operation

## Slide 13: December 2016

## Slide 14: January 2017

## Slide 15: Schedules and Links
Schedule can be accessed from the Operations Department Home Page
  Schedules -> Operations Schedule
Direct link to schedule
  http://www-ad.fnal.gov/ops/schedule.html

## Slide 16: Collaborations / Partnerships / Members [22pt Bold]