## Slide 1: Pressure Safety – Best Practices Learned Along the Way Mary Logue 4/25/2017

## Slide 2: Florida State Magnetic Lab Fatality - Thoughts for Leadership
SELF EXAMINE
Instead of asking: Would we have prevented it here?
Ask your staff: How could it happen here?
It could happen at your Lab, find out how
Beware of confirmation bias. Know that people tend to favor information confirming their beliefs. They disproportionately give less consideration to alternative possibilities.
Just because it has been done one way for many years, doesn’t mean it is right
(Slide liberally borrowed from Betsy Dunn, PE – ES&QA Div, Argonne)

## Slide 3: It Has Happened at JLab
07/11/2012:
Catastrophic window failure during
pressurization of RF Cavity – minor
injury from flying glass
08/15/2013:
Water filter housing blew – severe
injury to elbow
10/23/2013:
U-tube plug blew off during assembly
of CHL1 - no injuries but …
… a 25 lb slug of metal was launched
25 feet in the air

## Slide 4: Agenda
Updates by Volunteers –
  Focusing on R&D, not building systems
  Best practices & novel approaches
    Jefferson Lab
    ORNL
    ANL
    LLNL
    PNNL
Discussion Questions (if necessary)
  Qualifications of Designers
  In-service Inspections
  Users!

## Slide 5
Jefferson Lab
Pressure System Program – Take 2

## Slide 6: Background
Jefferson Lab Pressure Systems Committee formed in 2007 to put in place a labwide program that addresses the requirements of 10CFR851
The initial program went into effect in early 2008
A “recent” and major revision of that program went fully into effect in January, 2016 (with assistance from George Rawls, SRNL)

## Slide 7: Major Changes
Developed detailed “how to” guidance
for design, fabrication, testing, inspections, maintenance, repair, and training
  Defined “Sound Engineering Practices”
Committee to serve as AHJ
Assigned owners to each system
Created/revised training for owners,
operators, design authorities
Re-inventory site
Developed inspection program
Updated document control requirements

## Slide 8: Examples of Pressure Systems at Jefferson Lab
Cryomodules – pressure & vacuum systems
Experiments with vacuum chambers
Small experiment-target vessels and piping confining pressures
Superconducting magnets – pressure & vacuum systems
Oil-removal and gas-storage systems integral to the cryogenic plants
Compressed air & pressurized air reservoirs
Heating & cooling water systems

## Slide 9: Inventory Status
226 Pressure systems identified in 2007
  347 new pressure system numbers recorded but many are repairs and alterations
Defining the pressure system is left up to design authority and system owner - Challenge is to address each entry to regroup, rename, or delete appropriately.
  Example: Cryo has over 300; by grouping and updating we expect this number to drop to ~150
Additional challenge is to ensure all systems are identified (site survey)

## Slide 10: Pressure Safety Training at JLab
SAF 130A Pressure and Vacuum Systems Hazard Awareness
SAF 130B Pressure and Vacuum Systems Design Authority Training
SAF 130C Pressure and Vacuum Systems Owner Training
System specific training for operators or technicians is the responsibility of the System Owner… usually performed by work supervisor
All Instructor-led Courses

## Slide 11: In-Service Inspections
The Pressure Equipment In-service Inspection Program
  IC4 (Inspection Category 4): ASME boilers and relief devices protecting them
  IC3: ASME Pressure Vessels and Category M systems and relief devices protecting them
  IC2: Relief devices providing overpressure protection on Excluded Vessels or piping larger than 6 NPS
  IC1: All other pressure equipment (e.g. piping, turbo and reciprocating machinery, Excluded Vessels, vacuum equipment such as insulating jackets, etc.)
Inspection Requirements
IC4: As required in the Commonwealth of Virginia Department of Labor & Industry, Division of Boiler and Pressure Vessel Safety, Boiler & Pressure Vessel Rules & Regulations
IC3: Jefferson Lab employees or employees of agencies other than Jefferson Lab experienced in pressure vessel inspection
IC2: Relief devices are tested at an interval no longer than listed in guidance supplement (ranges from 1-5 years)
IC1: If there are no specific inspection requirements defined, inspections shall be defined by the System Owner
Note: Qualifications of Inspectors are established in Program Supplement

## Slide 12: Jefferson Lab Inspection Form

## Slide 13: What About Users & Students?
Review of experimental equipment, including pressure systems are performed through the Experimental Review Process
DA is expected to review and sign off on design
  Lab approved pedigreed person
  Working to communicate this upfront
Special training is required
  On-line with test