## Slide 1: H2VLE Beam status
Y.Karyotakis
July 19th 2017

## Slide 2: Beam simulation
Simulation is improved
  add all known shielding
  Exoskeleton plates and insulation and LAr
  Each track crossing the LAr volume recorded for background
  All tracks crossing a virtual plane of 10x10 m in front of the cryo recorded to be used as input to reco program. Mixing a beam and background track
  26M events per energy available here @ CERN
  /eos/experiment/neutplatform/protodune/npmcproddisk/beamgroupdisk/DP/v25c/*26M*.root

## Slide 4
Beam Composition

## Slide 5: Difference between published note and v25c

## Slide 6: Rates

## Slide 7: Background rates

## Slide 8: Hardware
Beam position monitors and trigger counters under R&D, 1st prototypes in October
Cherenkov counters and infrastructure ready by December 2017
TOF
  Exploring the ‘poo man’ solution, resolution 1-2 ns, using the trigger counters
  Have set up a test bench to measure time resolution in the lab
WR master signals will be available in our counting room, from MCC
Beam Data Handling
  SP people (Igor Vasilyevich Mandrichenko <ivm@fnal.gov>) have a reliable scheme to get the data and log them in a database
  We (Inaki + Giulia+ BI guys) were able to read the TDC WR module, candidate for our TOF

## Slide 9: Conclusion
Simulation effort slows down, have to wait for real data
Follow up of beam instrumentation construction and commissioning
  Aim to test prototypes in October November at PS
Data handling