## Slide 1: Proton Source Week 9
Joe Compton
9am Meeting
9/8/2017

## Slide 2: RIL/Linac
RIL
  Source A left off due to the holiday and power outage
  Testing the gas valve pulser
    Previous pulser chassis was reason for poor regulation
    Still looking into the cause of the poor regulation
    New chassis regulating well
Linac
  LRF2 Marx power testing in dummy load this week
    Looking good
  P1 Marx installation in LRF5 continues
  LE maintenance continues
  L1, L2, & L3 power outage today for maintenance

## Slide 3: LRF2
Low Power
Spark Testing

## Slide 4: Booster
BRF22 installation continues
BRF22 PS room prep continues
Shielding tests for CHG0 continues
General RF maintenance continues
Corrector maintenance
IP PS maintenance
In planning stage for mode damper resistor install
Sump pump maintenance
  Eye bolts installed
  Floats adjusted
Preparing for short outage on Monday
General maintenance