## Slide 1: A2D2 Operational Meeting
Michael Geelhoed

## Slide 2: Last Week’s Measurements
66.92 | C | final
23.6 | C | initial
43.32 | C | delta T
12 | sec | delta t
3.61 | C/sec | 
1475 | W | 
Thermal method using the aluminum block with the hole:
Voltage | Resistance | Current |  | 
11.7 | 1.00E+05 | 1.17E-04 | A | 
 | Voltage |  |  | 
 | 9.00E+06 | 1.17E-04 | 1053 | Watts
Voltage Measurement:
Using the same block of Aluminum
Voltage | Resistance | Current |  | 
12.26 | 1.00E+05 | 1.23E-04 | A | .1 MOhm
 | Voltage |  |  | 
 | 9.00E+06 | 1.23E-04 | 1103 | Watts
Voltage | Resistance | Current |  | 
124 | 1.00E+06 | 1.24E-04 | A | 1 MOhm
 | Voltage |  |  | 
 | 9.00E+06 | 1.24E-04 | 1116 | Watts
9/22/17 New Voltage measurements, noticed that interception of beam (and therefore voltage produced) was very dependent on the position of aluminum block. So we placed the 2 quarter inch thick (and larger transverse dimensions) on top if the original block.

## Slide 3: Ozone Production
Chart: Enclosure Ozone Concentration
| 2.7777777777777779E-3 | 1.6666666666666666E-2 | 3.3333333333333333E-2 | 0.25 | 0.5 | 0.75 | 1 | 1.25 | 1.5 | 1.75 | 2 | 2.25 | 2.5 | 2.75 | 3 | 3.25 | 3.5 | 3.75 | 4 | 4.25 | 4.5 | 4.75 | 5 | 5.25 | 5.5 | 5.75
ppm | 0.00024846 | 0.0014741 | 0.0029088 | 0.01842 | 0.030694 | 0.038872 | 0.044321 | 0.047952 | 0.050372 | 0.051984 | 0.053058 | 0.053774 | 0.054251 | 0.054568 | 0.05478 | 0.054921 | 0.055015 | 0.055078 | 0.05512 | 0.055148 | 0.055166 | 0.055178 | 0.055187 | 0.055192 | 0.055196 | 0.055198
EPA limit | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
30 CFM fan on
64.22 m3 enclosure
1.2 kW machine