## Slide 1
Steve Dixon
PIP-II DOE Independent Project Review
12-14 December 2017
WBS 121.5 – Conventional Facilities
CD-1 Documentation

## Slide 2: Charge Questions

## Slide 3: Outline
CD-1 Requirements
  One-for-One Replacement Strategy
  DOE Guiding Principles Strategy
CD-2 Requirements
  Project Definition Rating Index (PDRI)

## Slide 4: CD-1 Requirements – 413.3B
P2MAC – April 2017
PIP-II-doc-141
PIP-II-doc-142
This talk
This talk
PIP-II-doc-107
PIP-II-doc-113
Separate Breakout Talk
PIP-II-doc-140
PIP-II-doc-163
CF included in Cost and Schedule Breakout Talk

## Slide 5: CD-1 Requirements – 413.3B
T. Dykhuis Breakout
T. Dykhuis Breakout

## Slide 6: One-For-One Replacement Strategy
2006: House Report 109-06 and DOE Order 430.1;
Requirement that new construction of DOE-owned building area be offset with a declaration of excess or demolition of building area of an equivalent or greater size;
2006-Current: Changes in reporting and the tracking of the space usage/demolition;

## Slide 7: One-For-One Replacement Strategy
The design of the PIP-II conventional facilities will follow DOE Order 430.1C, Real Property Asset Management, requirements including:
Ensuring construction or renovation of DOE-owned buildings above 5,000 gross square feet meet federal sustainability principles and building efficiency requirements; (HPSB)
Ensure facilities regardless of ownership comply with applicable federal metering requirements; (HPSB)
Ensure newly constructed, renovated or leased building area designated for office does not exceed the Department’s office space design standard. (180 sf/person maximum)

## Slide 8: One-For-One Replacement Strategy
The design of PIP-II conventional facilities will comply with the FY 2017 Real Property Data Related to Operations and Maintenance Guidance by:
Optimizing space for functionality;
Increasing density; (180 sf/person maximum)
Eliminating old, expensive, and difficult to maintain facilities;
Constructing modern, flexible, collaborative and efficient space in accordance with sustainable practices. (HPSB)

## Slide 9: One-For-One Replacement Strategy
The PIP-II project will track and report the anticipated and actual square footage of the conventional facilities throughout the project life cycle;
FESS will use existing methods to report totals to DOE (AAIM and FIMS) *;
Approach was approved in November 2017;
PIP-II-doc-1064
  * AAIM = Anticipated Asset Information Module
  FIMS = Facilities Infrastructure Management System

## Slide 10: Guiding Principles for Sustainable Federal Buildings
Requirements:
  Executive Order 13963
  Guiding Principles for Sustainable Federal Buildings;
Compliance with 20 metrics required for new buildings;
Does not include process loads
Implementation process through design and construction;
Strategy document was signed in July 2017;
PIP-II-doc-184

## Slide 11: Guiding Principles for Sustainable Federal Buildings
Energy Goal:
Energy performance goal is to achieve at least 30% better than ASHRAE baseline
From the text portion of the Strategy Document

## Slide 12: Guiding Principles for Sustainable Federal Buildings
Metering Goal
Install building level meters for electricity, industrial cooling water, natural gas and chilled water.
A/E firm
responsibilities
Subcontractor
responsibilities
From the Implementation Plan portion of the Strategy Document
Goal

## Slide 13: Guiding Principles for Sustainable Federal Buildings
Conceptual Phase
  Established Goals;
  Assigned Responsibilities;
  Reviewed and approved strategy;
Currently ~15% complete with compliance;
Next Steps:
  Goals and Expectations will be included in both architect/engineer (A/E) and construction subcontracts;
  Periodic updates to the implementation plan;

## Slide 14: CD-2 Requirements
Implementation Plan in place
Reviews included in plan
Underway
Plan in place
DOE G413.3-12
“a project management tool designed to increase the likelihood of project success by improving project scope definition, specifically by identifying deficiencies in scope definition early during the front-end planning process”

## Slide 15: Project Definition Rating Index Analysis
Project Management Tool
  DOE Guide 413.3-12 Project Definition Rating Index Guide for Traditional Nuclear and Non-Nuclear Construction Projects;
  Based on numerical project management tool developed by Construction Industry Institute;
  Measures the degree of scope development for traditional construction projects;
Tool:
  5 major elements;
  73 scope definition sub-elements;

## Slide 16: Project Definition Rating Index Analysis

## Slide 17: Project Definition Rating Index Analysis
First Pass
  PIP-II project office;
  Scored 613 at CD-1 level
  PIP-II-doc-1230
Next Steps
  Review with the A/E project team;
  Continue to review throughout project life cycle;

## Slide 18: Summary
Path to CD-1
  Conceptual Design - Complete;
  Conceptual Design Report - Complete;
  Design Review - Complete;
  One-for-One Replacement Strategy - Complete;
  HPSB Documentation - Complete;
CD-2 Requirements
  Complete Preliminary and/or Final Design – Plan in place
  HPSB Implementation – Executing Plan
  Design Reviews – Plan in place
  Project Definition Rating Index – 1st pass complete

## Slide 19: Questions