## Slide 1: Operations Summary
John Kuharik
09:00 Meeting
4/25/2018

## Slide 2: Over the weekend:
Monday
  Muon dump water flow trip
  MI South anode trip
  QT847 and 848 tripped on ground faults
  Numi kicker filament trip
  Source B extractor acted up, got better without intervention
Tuesday
  Numi kicker filament trip
  AP50 chipmunk replaced
  RFQ trips requiring local reset
  Booster TLM#3 trips
  A1 sump frequently alarming
  More Source B instability
  Computer room temperature high, Duty Mechanic intervened
Wednesday
  G-2 trolly run at 02:00
  Multiple MIRF South Anode trips
  Shutdown for access