## Slide 1: CRT: Electronics and DAQ status
C. Mariani
Virginia Tech

## Slide 2
Rack –
  all components in
  routing for cables defined
  power supplies (1xHV and 2xLV) installed and tested
  All rack assembly completed by end of this week
    Ready for electronic review
  Integration with timing – to be started
Electronics ready to be installed
Cables – being prepared, complete the downstream by end of this week
Test Stand for module testing ready

## Slide 3
CRT Rack

## Slide 4: CRT cabling
Test individual modules
We will cable one frame (4 modules) at the time and then installed the frame vertically
Test the frame before moving and installing it
Commission the system at the end of installation (downstream + upstream)

## Slide 5
CH 16
CH 30
CH 31
1
2
3
4
USB 22
USB 3

## Slide 6
USB 13

## Slide 7
USB 14

## Slide 8
32 RG58
4 CAT6
4 Gauge 10 cables
4 Gauge 16 cables
16 SHV
16 RG58
2 CAT6
2 Gauge 10 cables
2 Gauge 16 cables
8 SHV
16 RG58
2 CAT6
2 Gauge 10 cables
2 Gauge 16 cables
8 SHV
8 RG58
8 RG58
16 RG58
CRT cable routing (cont’d)

## Slide 9: Summary
Electronics and Rack- 100% ready
DAQ internal of CRT – 100% ready
CRT computer – G. Savage – 90% ready
Timing Integration – 50% done
CRT Online Monitor – A. Olivier
CRT Slow Control – S. Henry
CRT ArtDAQ and RC interface – M. Strait