## Slide 1: ProtoDUNE Cryostat Test summary

## Slide 2: Overview
We checked all 6 APAs several times during the last month when the installation inside the cryostat was still ongoing
We tested the first 3 APA with the cryostat Turbopump on/off to see if the noise change. Tests on APA 4,5 and 6 were done with Turbopump on.

## Slide 3: APA1
Turbo off
Turbo off
Turbo on
One X channel of APA1#A115 (WIB1FEMB3) doesn’t have response to the injected pulse:
    FE channel is dead
    Sensing wire short to ground
    More investigations required

## Slide 4: APA2
We found some noisy FEMB (more noisy FEMB3WIB3) so we decided to replace WIB3 with a new one
Before replacement
Turbo on
After replacement
Turbo on

## Slide 5: APA3
Turbo off
Turbo off
Turbo on

## Slide 6: APA 4
Turbo on
Light connected
(inside the cryostat)
Turbo on
Light disconnected
(inside the cryostat)

## Slide 7: APA 5

## Slide 8: APA6
We’ve lost WIB4FEMB2 and replaced it with a new one.
Before replacement
(noise is due to people working inside the detector during the test)
After replacement

## Slide 9: Cryostat Noise Summary
H4 BEAM LINE
DaS
RaS
Us (APA5)
Us (APA3)
Ms (APA6)
Ms (APA2)
Ds (APA4)
Ds (APA1)