## Slide 1: Signals
Paola Sala
For the Joint Beam Instrumentation working Group

## Slide 2: H4- VLE monitor schematics
Black: quadrupoles. Green: bending magnets Boxes: detector supports. X,Y : scint. fibre layer. S=scint. for trigger ST=trigger+time-of-flight detector
Each box can host 2 detectors
Magnetic spectrometer for P meas
Beam monitoring
Particle tracking
trigger
Pid, ToF
Pid, Cv
687
697
701
702
707
716
716

## Slide 3: Summary of signals--again
Patch panel: 20 connectors
Leftmost 4: SPS timing TTL
Early Warning extraction :100ns before
Warning Extraction : at extraction
End of Extraction
Spare
Next 4:CRT triggers
Now configured as 4 ORs from the front panels. Read by counters in NP04 DAQ, read by scalers in BI DAQ
To NP04 Trigger: BI Global trigger + 2 XCET +.. To be finalized! Meet at 5pm today
From NP04 Trigger: trigger signal
To scaler ? Also To TDC?
More?

## Slide 4: Everything ready?
Last monitors to be mounted
XSCINT: 2 or three in the trigger
XCETS: calibration??
Acquisition and CESAR ? Is there still room for adding quantities ? (scalers, triggers..)
TDC: ok for high rate (1st tof)

## Slide 5: commissioning
Dedicated meeting next Thu
Maybe
We can start discussing here if there is time