## Slide 1: WA105 LRO mezzanine STATUS
Modification input ADC (full-scale)
Spare
Use in 6x6m Dune prototype
Cyril Drancourt, LAPP
Light Detection System Meeting Thursday, August 30, 2018

## Slide 2: Actual design of PMT signal on FE_LRO WA105 board
FE_LRO
splitter
HT
Power
AD8137 ampli
Unipolair > differential
ADC AD9249
14bits
PMT
0v
-Vmax = -1V
+
-
V+
V-
Offset = Vocm
= 0,9v
0,9v
1,4v max
0,9v
0,4v min
Common mode
Offset
Differential offset = 0v
V+ - V- =0
ADC value
=10000000000000
V+ - V- =-Vref
ADC Value
=00000000000000
Pb: Half dynamic range ADC used
30 aout 2018, cyril.drancourt@lapp.in2p3.fr
ADC value from 11111111111111 to 10000000000000 unused

## Slide 3: Upgrade: ADC input modification for full dynamic scale
FE_LRO
splitter
Alim HT
ADDED Attenuator
Micro-circuit
AD8137 Ampli
Unipolar > differential
ADC AD9249
14bits
PMT
0v
-Vmax_PMT
(depending
Attenuator value)
V+
V-
0,4v
1,4v
0v
-Vmax = -2V
Offset = Vocm
= 0,9v
ADDED Offset
= -Vref=-1v
0,9v
+
-
V+ - V- =Vref
ADC Value
=11111111111111
V+ - V- =0
ADC Value
=10000000000000
V+ - V- =-Vref
ADC Value
=00000000000000
Unchanged
Common mode
Offset
Added Offset
-Vref = -1v
Full dynamic range ADC used
30 aout 2018, cyril.drancourt@lapp.in2p3.fr

## Slide 4: Ampli: actual schematic
output 0,9v
From ADC
0,9v
30 aout 2018, cyril.drancourt@lapp.in2p3.fr
Common mode
Offset

## Slide 5
output 0,9v
From ADC
0,9v
Schematic upgrade (hardware modification)
-1v
0v
-Vmax = -2V
30 aout 2018, cyril.drancourt@lapp.in2p3.fr
AOP 0 to 7
AOP 8 to 15
(2 inverter amplificators because current constraint )
unchanged
Dual ampli added
OPA2227UA
unchanged
output 1v (Vref)
From ADC
10KW
10KW
100nF
100nF

## Slide 6
Vref wire
Modification –BOTTOM cabling

## Slide 7
Modification – TOP cabling
Vref wire
OPA2227
R3
R3 cabling in vertical (manhattan if cms package) : link to R4 unchanged on pcb, link by wire on « -1V » from OPA2227
4 x 10KW
3 x 100nF
alim
-1v
-1v
OPA2227UA ampli
Glue on top OPA2227
on free pcb space
+ 4 10K resistor
+ 3 100nF capacitor
Wire to link 8 resistors(R3)

## Slide 8
Modification – TOP cabling
R3 cabling in vertical (manhattan if cms package) : link to R4 unchanged on pcb, link by wire on « -1V » from OPA2227
OPA2227UA ampli
Glue on top component
on free pcb space
+ 4 10K resistor
+ 3 100nF capacitor

## Slide 9: Upgrade Status
30 aout 2018, cyril.drancourt@lapp.in2p3.fr
No cabling modification
Only attenuator used to adapt PMT range
APC team august decision

## Slide 10: Attenuator choise : mini-circuit product
30 aout 2018, cyril.drancourt@lapp.in2p3.fr

## Slide 11: LRO mezzanine(V2) spare
30 aout 2018, cyril.drancourt@lapp.in2p3.fr
No spare in product, because no july confirmation from financer
Components in LAPP stock:
  2 pcb
  2 samtec board with 20 wires with SMA-connector
  2 catiroc
  Some component rest from the previous cabling (no inventory)
Cost estimation to have 2 spares (without modification):
  Cabling: 800€ (if same manufacture to reuse tools)
  Components: (see APC 2016 command) – 50%

## Slide 12: Next LRO board
30 aout 2018, cyril.drancourt@lapp.in2p3.fr
Permit to validate the front end LRO design
Aquisition standalone
To include in global WA105 DAQ, many constraint :
  MCH2 slot occuped by white rabbit slave
  Fine / stratix communication on bittware board in this case must be used
  -> a lot of work, no implementation available by IPNL.
  Link 1Mb/s must be change to 10Mb/s (port 4,5,6,7 on µTCA)
  -> complex changment.
Actual Mezzanine Board:
Permit to have facility to include LRO in global WA105 DAQ
Must be start after front end LRO design validation
CAO in standby since january 2018, ready to start.
Next LRO board