## Slide 1: Printed Circuit Board Design Updates
Andrew Laundrie and Xu Zhai
UW Physical Sciences Laboratory
March 27, 2019

## Slide 2: Design Updates ̶ Overview
Foot Boards and Side Boards
  Dimensions stretched to fit larger frame tubes
  Multi-layer boards are required in some locations
Head Boards
  Increased spacing between wire traces
  Improved interface for electrical testing
Hardware Improvements
  Custom Mill-Max sockets and pins
  Stronger threaded inserts in boards

## Slide 3: X-Layer Foot Boards
Old
New

## Slide 4: V-Layer Side Boards

## Slide 5: U-Layer Side Boards

## Slide 6: Head Board Structure

## Slide 7: Slots Between CR Boards

## Slide 8: X-layer Head Board: ProtoDUNE
Solder Pads (48)
X Plane Sockets and Test Pads (48)
VSS pass-throughs
V
U
V and U signals pass through connected socket pairs

## Slide 9: X-layer Head Board: ProtoDUNE
Spacing of 0.5 mm between channels limits the safe voltage that can be applied between adjacent wires (~100 V)
Increased spacing is desired to support voltage differences as high as 400 V

## Slide 10: X-layer Head Board: DUNE

## Slide 11: X-layer Head Board: DUNE
Spacing between U and V wire channels has increased to 2.5 mm
Board edge was moved 4.0 mm to accommodate increased channel spacing
Fiducials were added to all boards to support inspection by automatic vision systems
Fiducial reference point
V
U

## Slide 12: X-layer Head Board: DUNE
Landing pads were added to the bottom side of X head boards (blue traces)
Pads allow the attachment of test headers in place of CR boards
Headers use spring-loaded contact pins

## Slide 13: Test Header Concept
Four connectors provide access to all channels on the X, U, and V head boards

## Slide 14: CR Board (ProtoDUNE)

## Slide 15: New CR Board
Minor changes only

## Slide 16: V-layer Head Boards (new / old)

## Slide 17: U Layer Head Boards (new / old)

## Slide 18: G Layer Head Board: ProtoDUNE
Solder Pads (48)
Landing pads for G bias (12 + 6)

## Slide 19: G Bias Board: ProtoDUNE

## Slide 20: G Layer Head Board: DUNE
Solder Pads (48)
Landing pads for G bias (48 + 6)

## Slide 21: G Bias Board: DUNE

## Slide 22: ProtoDUNE Sockets and Pins
Standard catalog items had
some performance issues

## Slide 23: DUNE Sockets

## Slide 24: DUNE Pins

## Slide 25: CE Assembly Installation
Captive screws in ProtoDUNE were meant to pull connectors together in a controlled fashion, but they posed a risk of being dropped into the cryostat during CE installation or removal

## Slide 26: CE Assembly Installation
Captive screws were eliminated by changing the angle brackets on CR boards
Threaded tools are inserted and rotated to pull connectors together, then removed

## Slide 27: CE Assembly Installation

## Slide 28: Hardware Improvements
Expanding threaded inserts have been replaced by broaching fasteners to prevent breaking and reduce metal debris

## Slide 29: Process Improvements
Improved tools and methods are being evaluated for PCBs
  Instrumented tips on soldering irons for process control
  Vapor-phase reflow soldering for CR and G Bias boards
  Improved board-washing equipment
  Automated test systems for CR boards and G-Bias boards

## Slide 30: Quality Assurance and Control
All ProtoDUNE boards were inspected when received
Complex mechanical features were frequently out of spec
Continued inspection of most boards is probably needed
Manual board inspection was time-consuming
Vision systems are being evaluated for board inspection

## Slide 31: Backup Slides

## Slide 32
Mill-Max Pins and Sockets
Pins are fragile and not repairable once bent.
Their exposure is minimized during APA assembly.
.
CR
X
V
U

## Slide 33
In ProtoDUNE the separation between exposed metal through-hole pads is about 0.5 mm.