PIP-II Utility Plant Building

Functional Requirements Specification

Document number: ED0006748, Rev. A

**Document Approval**

|  |  |
| --- | --- |
| Signatures Required | Date Approved |
| Originator: S. Dixon, L2 Manager, Conventional Facilities |  |
| Approver: xxxxxxxxx, Department Head |  |
| Approver: xxxxxxxxx, Division Head |  |
| Approver: Alex Martinez, Integration Coordinator |  |
| Approver: Allan Rowe, Project Engineer |  |
| Approver: Paul Derwent, Project Scientist |  |
| Approver: Arkadiy Klebaner, Technical Director |  |

Revision History

|  |  |  |
| --- | --- | --- |
| Revision | Date of Release | Description of Change |
|  | 25 October 2017 | Initial Release |
| Rev A | 19 June 2018 | Updated to Revised Format |
|  |  |  |

Table of Contents

[1. Purpose 4](#_Toc517256880)

[2. Scope 4](#_Toc517256881)

[3. Acronyms 4](#_Toc517256882)

[4. Reference 4](#_Toc517256883)

[5. Key Assumptions 5](#_Toc517256884)

[6. Functional Requirements 5](#_Toc517256885)

[7. Safety Requirements 5](#_Toc517256886)

# Purpose

An FRS describes the programmatic or project needs and/or requested behavior of a system or component. The document typically outlines what is needed by the end user as well as the requirements and requested properties of inputs and outputs. The FRS specifies the functions that a system or component must perform and establishes consensus among stakeholders on what the system is expected to provide.

# Scope

This FRS addresses the functional requirements of the Utility Plant Building including the mechanical equipment space, LCW equipment space, control room, support spaces and adjacent exterior site work.

# Acronyms

|  |  |
| --- | --- |
| FESHM | Fermilab ES&H Manual |
| FRCM | Fermilab Radiological Control Manual |
| FRS | Functional Requirements Specification |
| LCW | Low Conductivity Water |
| L2 | WBS Level 2 |
| L3 | WBS Level 3 |
| PIP-II | Proton Improvement Plan II Project |
| SCD | System Configuration Document |
| TC | Teamcenter |
| WBS | Work Breakdown Structure |

# Reference

|  |  |  |
| --- | --- | --- |
| **#** | **Reference** | **Document #** |
| 1 | Conventional Facilities Engineering Process Document Management | ED0002857 |
| 2 | Conventional Facilities System Configuration Document (SCD) | ED000xxxx |
| 3 | [Fermilab Engineering Manual](http://directorate-docdb.fnal.gov/cgi-bin/RetrieveFile?docid=34) | NA |
| 4 | [Fermilab Environmental Safety and Health Manual](http://eshq.fnal.gov/manuals/feshm/) | NA |
| 5 | Fermilab Radiological Control Manual | NA |
| 6 | PIP-II Project Assumptions | PIP-II-doc-144 |
| 7 | PIP-II – Fermilab Interface Document | PIP-II-doc-528 |

# Key Assumptions

The assumptions for the Utility Plant Building include:

1. The LCW equipment shall be provided, delivered, installed and commissioned by the Linac Installation and Commissioning subproject;

# Functional Requirements

|  |  |
| --- | --- |
| **Requirement #** | **Requirement Statement** |
| F-121.06.04-001 | The UPB shall provide a safe environment for employees and the public. |
| F-121.06.04-002 | The UPB shall provide space and infrastructure for the LCW equipment. |
| F-121.06.04-003 | The UPB shall provide space for unloading/loading activities. |
| F-121.06.04-004 | The UPB shall provide exterior space for cooling towers. |
| F-121.06.04-005 | The UPB shall provide control room space. |
| F-121.06.04-006 | The UPB shall comply with the overall character of the PIP-II campus. |
| F-121.06.04-007 | The UPB shall connect to existing Fermilab infrastructure. |
| F-121.06.04-008 | The UPB shall be located adjacent to the PIP-II Linac Complex. |

# Safety Requirements

The system shall abide by all Fermilab ES&H (FESHM) and all Fermilab Radiological Control Manual (FRCM) requirements including but not limited to:

|  |
| --- |
| Pressure and Cryogenic Safety |
| * FESHM Chapter 5031 Pressure Vessels |
| * FESHM Chapter 5031.1 Piping Systems |
| * FESHM Chapter 5031.5 Low Pressure Vessels and Fluid Containment |
| * FESHM Chapter 5031.6 Dressed Niobium SRF Cavity Pressure Safety |
| * FESHM Chapter 5032 Cryogenic System Review |
| * FESHM Chapter 5033 Vacuum Vessel Safety |
| Electrical Safety |
| * FESHM Chapter 9110 Electrical Utilization Equipment Safety |
| * FESHM Chapter 9160 Low Voltage, High Current Power Distribution Systems |
| * FESHM Chapter 9190 Grounding Requirements for Electrical Distribution and Utilization Equipment |
| Radiation Safety ANSI ASC A14.3  -2000  Safety Requirements for Fixed Ladders |
| * FRCM Chapter 8 ALARA Management of Accelerator Radiation Shielding |
| * FRCM Chapter 10 Radiation Safety Interlock Systems |
| * FRCM Chapter 11 Environmental Radiation Monitoring and Control |
| General Safety |
| * FESHM Chapter 2000 Planning for Safe Operations |
| Construction Safety |
| * FESHM Chapter 7010 ES&H Program for Construction |
| * FESHM Chapter 7030 Excavation |
| * FESHM Chapter 7060 Fall Protection |
| * FESHM Chapter 7070 Ladder & Scaffold Safety |
| Environmental Protection |
| * FESHM Chapter 8011 Groundwater Protection – Excavations and Wells |
| * FESHM Chapter 8012 Sedimentation and Erosion Control Planning |
| * FESHM Chapter 8025 Wastewater Discharge to Sanitary Sewers |
| * FESHM Chapter 8026 Surface Water Protection |
| * FESHM Chapter 8050 Domestic Water Protection |
| * FESHM Chapter 8080 Air Emissions Control Program |
| * FESHM Chapter 8081 Refrigeration Management |
| Material Handling and Transportation |
| * FESHM Chapter 10100 Overhead Cranes and Hoists |
| * FESHM Chapter 10110 Below-the-hook Lifting Devices |

Any changes in the applicability or adherence to these standards and requirements require the approval and authorization of the PIP-II Technical Director or designee.

In addition, the following codes and standards in their latest edition shall be applied to the engineering, design, fabrication, assembly and tests of the given system:

|  |
| --- |
| ASME B31.3 Process Piping ANSI ASC A14.3  -2000  Safety Requirements for Fixed Ladders |
| ASME Boiler and Pressure Vessel Code (BPVC) |
| CGA S-1.3 Pressure Relief Standards |
| NFPA 70 – National Electrical Code |
| IEC Standards for Electrical Components |

In cases where International Codes and Standards are used the system shall follow FESHM Chapter 2110 Ensuring Equivalent Safety Performance when Using International Codes and Standards and requires the approval and authorization of the PIP-II Technical Director or designee.

Additional Safety Requirements that are not listed in the general list above shall be included in the Requirements table in the Functional Requirements section.