## Slide 1
Dimitar MLADENOV & The entire CERN Team
FS Installation Workshop
SURF, 19-22 August 2019
LBNF - Bridge and cryogenics mezzanine installation

## Slide 2
LBNF – Bridge Installation
Two Main Beams
Same as the Cryostat one
Around 10T each
Probably in two pieces
Couple of days per beam
Crossing Beams
2T each
Floor and handrail
Bridge Abutment
Weight calculation

## Slide 3
LBNF – Cryogenic Mezzanine Installation
Wall brackets
Shall be there
Main beams
12
Temporary supported
Vertical rods
To agree on the sequencing
Crossing Beam structure
Will arrive preassembled
Floor and Stairs
Handrail
Services
Cryogenics

## Slide 4: The Tie Rods
8 x 50mm Tie Rods connected to the cavern ceiling
each capable of supporting 100T
Side Wall Interface
Still to define

## Slide 5
LBNF – Detector Mezzanine Installation
Main superstructure
Currently around 40T
Stairs
Floor
Handrail
Cable trays
Racks
Weight calculation

## Slide 6
Thank you!