## Sheet1
ITEM | Installation Components | Sub-Components | Package Description | packaging Type | Units | Count | Unit per package | Packages
| Cleanroom Infrastructure | EDS Flooring in cleanroom | Floor tile | Pallet | Tile | 1200 | 100 | 12 | need to verify packaging
|  |  | Edge tile +misc | Palet-Box
Cleanroom Lighting
Fire suppression
Cleanroom Electrical
Portable Hepa Filters Units
Wall and ceiling coverings
ODH Monitors
HVAC control and monitoring
Partical Monitors
Epoxy paint
| Personnel SAS | Garment rack 6'
Coat hangers
Motorized Shoe cleaner
Gowining benches
Storage Cabinet
Trash Can 24"
Trash Can Liner
Penco Basket rack locker for 32 baskets
Penco Locker baskets
Air Scrubber
light duty shoe rack 50 pr
Dispenser
Shelf 36" wide 18" deep 87 tall 10 shelves
extra shelf
Manhole ventilation
| APA assembly Towers | Steel Beams
Brackets bolts and misc
| APA cable infrastructure | 120v Powered cable Reel
Sheeve Hanger 4" wide x 20" Dia.
Plastic cable reel
Cable reel holder set
Support structure & hardware
Cryostat lighting
Cleanroom Tools
Cleanroom PPE
Cleanroom Consumables
Spare Parts
| Elect. Diagnostic Equipment | Oscilloscope - 4Ch 2 GHz (+logic prob)
Oscilloscope - 4Ch 1GHz
Oscilloscope - battery powered
Spectrum Analyzer
Network Analyzer
Soldering Station Fume hood
ESD workbench 72"w 30"D
Solder Re-Work Station
DVM CAT IV
Current Probe
Misc. hand tools
Endoscope and Camera
Misc. cables and test connectors
RS232 to Wifi adapter
Wire Tracer
Digital Megohmmeter insulation tester
Thermal Imaging Camera
Fluke fiberoptic ribbon tester
Fluke fiberoptic tester single fiber
Fiberoptic fusion splicer
Megohm meter test kit for ESD
50V 10A benchtop powersupply
DC power supply 3 ch 30V 3A
AWG
| Install. Storage Equipment | 2 Shelf pallet rack starter
Pallet rack add-on
Shelves
Cabinets
Shop cage
Flammables Cabinet
| Temp. Cryostat Floor | VersiJack adjustable deck & paver support, EVJ-1
ESD coated Plywood sheet (1.02m x 2.38m x 1.25 in)
ESD epoxy paint
Grade 30 Chain-Not for Lifting, Unfinished Steel, 1/4 Trade Size, 3592T15
Steel Phillips Flat Head Screw, 82 Degree Countersink Angle, 1/4"-20 Thread Size, 3-1/2" Long, 90273A571
Zinc-Plated Steel Oversized Washer, for 1/4" Screw Size, 0.281" ID, 1.25" OD, 91090A109
Medium-Strength Steel Hex Nut, Grade 5, Zinc-Plated, 1/4"-20 Thread Size, 95462A029
| Install. Material Handling | Rigging equipment
Gantry sling rack
Electric Forklift
Electric Pallet Jack
Manual Pallet Jack
Hand Truck
Aluminum Pallets
Plastic Pallets
Large Container
Large Container Lid
Drywall cart
Stainless Steel Cart
Moving slides
open dollies
Table Dollies
| PD lifts | (2) - 26' Scissor Lifts | none
Chargers, acessories
| Install. Racks | (9) racks
|  | Misc. Cables,WIFI, fiber | Palet box
| Tools Cavern | Small toolkit
General purpose toolkit
Drill Bits Standard
Drill Bits Metric
Vacuum
Metal work carts
Rolling ladder
Dewalt drills
Dewalt multipack
Metric Nutdrivers
SEA Nut drivers
Workbench
Workbench drawer
Workbench lower shelf
Bench vise
Sawzall
Hand truck
Bench grinder
4ft ladder
6ft ladder
8ft ladder
Tool chest
| Install. Operations Equipment | Computer desks
Cabinet workbench
Office chairs
Storage cabinet
Large office printer
Wide printer
File cabinets
Phone system
Office supplies start-up
Polycom conference phone
Conference table
Laptops
Enduser terminals (PC)
DB servers
barcode RF/scanner
Storage Consumables