ICEBERG Status:

* Internal filter to be completed this week.
* The Flow Control Valves on condenser have been replaced and tested.
* Waiting to install: 5 day work if technical support is available and not distracted by other tasks.

PD Status:

* No SSP
* DAPHNE: ready to go (more on Rory’s talk)

My list of worries:

* No SSP
* Lack of people for data taking and analysis (more on Rory’s talk)
* Lack of simulations
* Lack of general plan and insertion in the broader PD Consortium plans, for example: will we test other ganging schemes, other warm electronics? Little interaction with the electronics working group