## Slide 1: MooD Summary
Attempt at a brief summary
Necessarily biased and incomplete
No vetting yet for political correctness (Criticisms accepted)
Nevertheless…

## Slide 2: My impression of this workshop…
Many very interesting and exciting ideas
Good discussion and good company
I believe that we can make a compelling case for further development of noble liquid TPCs
A good start to generating enthusiasm and planning for the Module of Opportunity for DUNE
…to borrow a phrase
Faster, Better, Cheaper
Stefan’s introduction of the Module of Opportunity

## Slide 3: My comments towards the Module of Opportunity
DUNE needs to keep its eye on the ball building the first two modules and the LBNF infrastructure (this is in the US CD-2 plan).
The LBNF project will have built an outstanding underground facility in a powerful beam…
…there is space for additional detectors: A compelling case can be made (It is obvious) to develop the collaborations/teams to advance detector development towards the Module of Opportunity
We have opportunities to push within the US system to invest in Basic Research Needs for LArTPCs
Let us make sure this R&D advances in parallel with the Project.
My crystal ball is cloudy, but I think we want to be ready to build or deploy this in ~a decade.

## Slide 4: CPAD (Coordinating Panel for Advanced Detectors)
https://wp.physics.wisc.edu/cpad2019/

## Slide 5: Basic Research Needs (BRN) Study on HEP Detector Research and Development (R&D)
DOE has launched a BRN study to inform future directions of instrumentation
Website: http://doe-brn-hep-detectorrandd.physics.ox.ac.uk

## Slide 6: Goals
The Detector R&D BRN Study will:
  Survey the present state of the HEP technology landscape.
  Identify key capabilities and associated performance requirements to enable HEP science drivers.
  Identify technologies to provide or enhance such capabilities.
  Articulate long-term Priority Research Directions to push well beyond the current state of the art, potentially leading to transformative technological advances with broad-ranging applicability; flesh out the required R&D efforts with deliverables with notional timelines and key technical milestones along the way; and elucidate the technical infrastructure required to support these efforts.
  Formulate a small set of instrumentation Key Challenges that could, if addressed successfully, result in game-changing experimental capabilities.

## Slide 7: Input is requested from the community!
Several emails have been sent by different groups to provide inputs (e.g. Noble Liquids, Neutrino Physics, …). The website also has links for confidential input forms. Email the conveners directly. CPAD workshop will also be a good place for inputs.
It’s important that the community’s view points are well represented. You have until 10 December 2019 to provide input!
This workshop is a great opportunity to provide input and conveners will be expecting inputs.

## Slide 8: Info on conveners
The Conveners of the BRN Study are:
The Higgs as a tool for discovery: Jim Hirschauer (FNAL) Gabriella Sciolla (Brandeis)
The physics of neutrino mass: Ornella Palamara (FNAL) Kate Scholberg (Duke)
The new physics of dark matter: Jodi Cooley (SMU) Dan McKinsey (Berkeley)
Cosmic Acceleration: inflation and dark energy: Clarence Chang (ANL) Brenna Flaugher (FNAL)
Exploring the unknown: new particles, new interactions and physical principles:
Sarah Demers (Yale) Monica Pepe Altarelli (CERN)
Quantum Sensors: Andy Gercai (Northwestern) Kent Irwin (Stanford)
Noble Liquids: Roxanne Guenette (Harvard) Jocelyn Monroe (RHUL)
Calorimetry: Francesco Lanni (FNAL) Roger Rusack (Minnesota)
Solid State (tracking and vertexing): Marina Artuso (Syracuse) Carl Haber (LBNL)
Photodetectors: Lindley Winslow (MIT) Peter Krizan (Jožef Stefan Institute)
TDAQ: Darin Acosta (Florida) Tulika Bose (Wisconsin)
Readout and ASICs: Gabriella Carini (BNL) Mitch Newcomer (Penn)
Cross Cut: Marcel Demarteau (ORNL) Abe Seiden (UCSC)
The Chairs of the BRN Study are:
Bonnie Fleming (Yale) Ian Shipsey (Oxford)
The DOE BRN Study liaisons are:
Glen Crawford (DOE) and Helmut Marsiske (DOE)

## Slide 9: Intro to DUNE
Stefan

## Slide 10: Module of Opportunity
Stefan
Elizabeth

## Slide 11: Phenomenology perspective
Peter

## Slide 12: Gd-water
Pablo

## Slide 13: Theia: Wb-LS
Michael

## Slide 14: Theia: Wb-LS
Mike

## Slide 15: The Advanced Instrumentation Testbed AIT will enable real-world, at-scale testing of antineutrino-based monitoring technologies for nuclear reactors
UK’s Underground Science Facility at Boulby has agreed to host AIT
(AIT) will house the world’s first experiment dedicated to exploring the viability of remote reactor monitoring
Depth is ~3600 feet (2850 mwe) compared to ~4850 ft Homestake depth
AIT will accommodate follow-on experiments for nonproliferation and/or physics
With advance planning, follow-on experiments could develop technologies for DUNE and other fundamental physics experiments
Adam

## Slide 16: Coherent Captain-Mills (CCM) Experiment Maximizing Scintillation Light Detection
Richard

## Slide 17: JUNO
Jiajie

## Slide 18: Liquid0 (opaque scintillator)
Pedro

## Slide 19: ARAPUCA Light Detection
Light Readout
Flavio

## Slide 20: Dichroic filters for Cherenkov/scintillation separation
Tanner

## Slide 21: Active ganging in LAr ARAPUCA
Gustavo

## Slide 22: nEXO
Liang

## Slide 23: Xe doping
Denver

## Slide 24: Reflective Foils
Andrzej, Marcin

## Slide 25: Discussion of LArTPC light readout
Should MooD have a different light/charge ratio?
How much light can we get at 500 V/cm?
Flavio

## Slide 26: Vertical Drift SP TPC
Cathode, similar to the DP one, transparent, made of small tubes
Anode structure can be supported in the same way as done for DP, but must be more rigid then a standard wire APA
SP cold electronics similar to the one already planned (top anode cables short, bottom anode cables long, not very different then SP baseline)
Embedded in the same FC concept as the DP
First introduced at the CERN mini workshop in June 2019
Based on the easier assembly concept of the DP field cage
6m drift, 300KV technology almost acquired. Could be tested in the NP02 layout
Less requirements on purity as for the case of a DP 12m drift
Easy to install, because very modular
anode
anode
Cathode (300KV)
6m drift
6m drift
Unit = 3m x 3m
cryostat
Support wires
Projective Charge Readout
Francesco

## Slide 27: Summary
The proposed Single Phase Vertical drift concept is largely based on the more flexible DP design for the FC and Anode supports
Several Anode Plane choice could be studied: optimization campaign could start soon in existing facilities
Newly proposed concepts for photon detectors could also be implemented
Mechanical design, assembly and installation sequence to be detailed
A dedicated R&D program could start immediately
Francesco

## Slide 28: Axial Projective Charge Readout
Use multiple 2D projective views to reconstruct 3D images of interaction events
Non-destructive induction view is commonly used to ensure intact clone of the original 3D image
Advantage:
  Reduce number of electronics readouts  Ensuring fully active tracking calorimeter (homogeneous LAr volume + continuous readout satisfying Nyquist sampling theorem)
Disadvantage:
  Ambiguities inside readout-plane directions
How many projective views are necessary?
What is the best detector orientation?
Made by Georgia Karagiogi
Xin

## Slide 29: How many projective views are necessary (I)?
Not an easy question to answer
  Particle detectors typically have at least two views, as 3D reconstruction requires minimally two views
Answer depends on the complexity of object, bounds are available
  For non-isochronous simple track(s), two views are generally sufficient (see Pandora’s cosmic muon reconstruction)
  In a CAT scan in hospital, typically more than 1000 views with 2π coverage (human body is complex)
ProtoDUNE-DP
Wikipedia
Xin

## Slide 30: Summary for the “Module of Opportunity”
Three views are essential for the generic 3D automated event reconstruction on LArTPCs with projective charge readout
  More views are even better for reconstruction
Perpendicular TPC orientation (w.r.t. beam) would significantly reduce ambiguities with projective charge readout for beam interaction events
  New ideas and progress (DL-SP and MP-SP in development) may conquer the challenges in TPC signal processing for the perpendicular TPC orientation option
Xin

## Slide 31
Benefits over previous charge readout techniques:
High resolution — For e.g. an EMCCD sensor is 1024x1024 pixels (run with 4x4 binning ≈ 1mm resolution).
Sensitivity to low energies — gain is generated in the THGEM (~100s of photons per accelerated e-); cameras can be sensitive to single photons.
Very low noise — Externally mounted cameras are decoupled from TPC electronic noise sources.
Ease of access — Cameras can easily be replaced or upgraded - particularly useful during long-term cryogenic running.
Cost efficient (No need for thousands charge channels used in previous charge readout technology)
ARIADNE - developing optical readout, as an alternative to charge.
Dual Phase Optical TPC
Operation & Benefits
Kostas

## Slide 32
Beamline Events
0.4m
1.1mm / pixel resolution (4x4 bin)
(@Low THGEM gain 27 kV/cm)
0.4m
Kostas

## Slide 33
Conclusions –Next steps
Technology is mature and ready to go now. From here on is all about improvements and dedicated optimization for the specific detector
  Plans to test a VUV sensitive intensifier to remove the need of TPB
  Further in the future bring the cost even lower by alternatives to intensifiers
  TPX4 is coming soon
Plan to start commissioning the large scale detector at CERN in spring 2020.
  Please let us know if you would like to get involved (maybe we need to create a working group).
Thank you
Kostas

## Slide 34: Timepix3
Timepix3 ASIC: spin-out of R&D for LHC, commercialized by CERN
256 x 256 array, 55 x 55 micron pixel
  14 mm x 14 mm active area
1.5 ns timing resolution
Data-driven readout, 80 Mpix/sec, no deadtime
each pixel measures time and flux, ~1us pixel deadtime when hit
Threshold ~ 700 photons so not single photon sensitive
  arxiv: 1707.06253, 1902.01357
Sensor is bump-bonded to chip
Developed at BNL, produced at CNM (Barcelona, Spain)
Surface preparation inspired by astronomical CCDs (LSST)
Thin window optical sensors
Andrei

## Slide 35: Single Photons in Tpx3Cam
Tpx3Cam + intensifier by Photonis
data taken by J. Long (ASI)
1 ms slice of data
1.5ns time-stamping
TOA
TOT
TOT
  Time stamping of optical photons with data-driven readout is attractive alternative to frame readout
  Works well for sparse data
  Needs intelligent pixels with complex functionality
  Timing resolution: 10 nsec  0.1 nsec
  Photon sensitivity: 1000 photons  single photon
  Mature technology for DUNE dual-phase LAr TPC
Andrei

## Slide 36: New ideas for gain
Shikma

## Slide 37: Introduction
In the past years a dedicated R&D program was carried out at CERN aiming at replacing the LAr-TPC wire chamber with perforated multilayer printed circuit board (PCB), where fragile wires are replaced by robust copper strips:
Electrons are 2D focused in the PCB holes
Strips in the front and intermediate layers sense induction signal
Strips on last plane collect the ionization electrons.
The idea was driven by several possible improvements wrt wire chambers:
Most components can be mass produced commercially
The anode plane is robust, without risk of broken wires, has simpler support structure
Possibility of integrating the FE electronics on the PCB
Better segmentation / modularity, the possibility to test the full readout before installation
The design took advantage of the technological development of wide area Thick-Gems at CERN.
Design Concepts for PCB Based APAs
Bo

## Slide 38: Summary
APAs constructed from PCB anode modules are interesting alternative to the current wire based APAs. They can be mass produced by industry, robust, better uniformity and modularity.
Despite of the large number of holes on the anode PCBs, cost estimate from a PCB vendor projected the cost of the 2 view PCB at ~ $200 /m2. The material cost for building a 3mx3m module is about $30k without the readout electronics. The assembly labor is expected to be substantially less than that of the current APAs.
Due to the larger dielectric constant of G10 (x3 from LAr), to have comparable SNR to the wire based APAs, we need at least 3x channel count per unit area. A longer drift and fewer APA arrays will help reduce the CE channel count.
A 2-view demonstrator is under development, which can be scaled to a 3mx3m module taking advantage of the NP02 support frame design.
Due to the high field necessary inside the holes of the PCB, internal induction planes are far less effective due to charge cancellation. Therefore to build a 3-view PCB anode, we plan to use one induction view, and two shared collection views. Small scale samples will be designed and tested to select the best electrode configuration.
For horizontally placed large anode PCBs, perforation is needed to allow liquid argon flow. This may not be a requirement for vertical APA walls.
Bo

## Slide 39: Sourcing LRUA for DUNE could be a reality
Argon is not generally looked for in underground gas fields
PNNL working with to explore large scale underground argon sources
  Supplier: Major U.S. gas producer/supplier (not disclosed at company request)
  Production rate: ~5,000 tonnes/year
    Can start in about 2 years
  Ballpark cost: x3 regular argon
  NOTE: These are very rough estimates.
  Further refinement require expression of true interest from DUNE
Next steps for physics:
  Reminder: DarkSide source is the only proven source (i.e., extremely low 39Ar)
  Measure 39Ar levels from new potential source
  For 42Ar level, new assay method required – expected to be VERY low
DarkSide/Underground Ar
Cristiano, Eric

## Slide 40: Pixelated Charge Readout
Roxanne

## Slide 41: LArPix
Dan

## Slide 42: LArPix (2)
James

## Slide 43: LArPix (3)
Igor

## Slide 44: QPix
Mitch

## Slide 45: Qpix (2)
Gary

## Slide 46: Qpix (3)
Elena

## Slide 47: Discussion of LArTPC charge readout

## Slide 48: Other ideas?
Claudio

## Slide 49: …and now a word from our sponsors
Ed and Stefan will lead the discussion on what the next steps are for DUNE
(and in the US, I hope that we can agree and push the case for LArTPC development as part of BRN)
…
Many thanks to Debbie and Carlene and the local organizing committee
Special thanks to Hanyu Wei and Xiangpan Ji for heroic efforts on the audio/video