## Slide 1: Circular Quench Antenna – New Assembly Update
H. Song, S. Dimaiuta, P. Joshi, P. Kovach, M. Anerella
For Quench antenna efforts at BNL
In collaboration with M. Marchevsky, LBNL, T. Strauss, FANL
9/6/2019

## Slide 2: Status Summary
PCB preparations
  The 11th empty PCBs received,
  All the 11 PCBs populated – today (9/6).
Drawings – completed, PK, MA
3D prints – all the parts received
  Sent to lab machine shop for further cleaning process
Cable preparation for new PCB boards, 32 signals – 60 % completion
  Existing 32 signals
To do
  Check all the 8 PCB of v2015, 8 PCB of v2017, and 11 PCB of v2019
  Quench antenna assembly, tests
    In parallel to cable preparation
  System integration tests

## Slide 3: New assembly

## Slide 6: Backup slides