## Slide 1: Primary Beamline Low Conductivity Water (LCW) Preliminary Design Review
Summary
Karlton E Williams II
  Sr Engineering Physicist, AD/ENG/MSD, Fluids Engineer
October 31, 2019

## Slide 2: LCW System - Preliminary Design Review Review Summary
Summary of Preliminary Design Status
Confidence in known design
Areas where additional design focus is necessary
Suggested areas of effort, schedule revision
M&S review to be covered by project estimator

## Slide 3: LCW System - Preliminary Design Review
Confidence in known design
Well-established beamline lattice and Conventional Facilities design
LCW design, installation methods using reliable, operational systems as model (MI, NuMI LCW)

## Slide 4: LCW System - Preliminary Design Review
Areas where additional design focus is necessary
Current layout incorporates major rework of service building and access from earlier this year (c. May 2019)
Bus layout through Service Building no longer easy candidate for installation via MI-style aluminum troughs, will require new design
Bus-to-magnet connections will require individual design at most locations
Neither are show-stoppers, but can be effort-intensive for design

## Slide 5: LCW System - Preliminary Design Review
Suggested areas of effort estimation, schedule revision
Preliminary design overshot engineering estimates
  Especially where component maturity was low
Does estimated final design effort reflect a reasonable level of both engineering and drafting effort?
Do the scheduled durations for tasks seem reasonable?
Does the schedule logic and time scale make sense in relation to overall project goals?

## Slide 6: LCW System - Preliminary Design Review
M&S review to be covered by project estimator
This will be an in-depth review of all M&S costs
To be completed by CD2

## Slide 7: LCW System - Preliminary Design Review Scope of Review
Review Emphasis:
The primary purpose of this review is technical in nature, to ensure the project is sufficiently mature to begin Final Design
Have we achieved this goal?

## Slide 8: LCW System - Preliminary Design Review Scope of Review
Thank you!