## Slide 1: ICEBERG Power (As Found)
Shekhar, Linda, Carlos, Rory et al.
10/17/2019

## Slide 2: Why As found
We have 4/12 fuses blown in WIB in CE.
We have several FEMBs that are not initializing.
We see unusual behavior in CE Power when PD SSP power is turned on/off

## Slide 3: ICEBERG CE Electrical
DUNE ICEBERG CE Rack Documentation
  https://docs.dunescience.org/cgi-bin/private/ShowDocument?docid=10515
  https://fermipoint.fnal.gov/service/tsworc/Lists/tsworc/DispForm.aspx?ID=2659
  https://fermipoint.fnal.gov/service/tsworc/Lists/tsworc/Attachments/2659/iceberg-controls.pdf
  https://fermipoint.fnal.gov/service/tsworc/Lists/tsworc/Attachments/2659/ORC_CE_Rack_ICEBERG.pdf
DAQ DUNE TPC Cold Electronics Test
  https://docs.dunescience.org/cgi-bin/private/ShowDocument?docid=9877

## Slide 4: Wiener PL506
Ch 0 (SSP) 22V/1.7A
Ch 1 18V/1A
Ch 2 12V/1A
Ch 3 12V/1A
Ch 4 48V/3A
Ch 5 Empty
s
s
s
s
CE as in drawing

## Slide 5: PL506 Explanations
Need to understand PD SSP Power Cable Shield is not connected.
  Does not have a shield connected by design of PD ?? (ORC document)
Need to understand how the Purity Monitor Ground is used at the end of NIM (It is open at other end)
  We verified 100 W resistor to ground exists in Purity Monitor electronics module
  https://docs.dunescience.org/cgi-bin/private/RetrieveFile?docid=10515&filename=PL506_to_NIM_powercable.pdf&version=5
  This is as per drawing.

## Slide 6: PL560 PTC and Fan in WEIC

## Slide 7: MPOD Crate
MPOD Crate is as per document except:
  Two new high precision units have been added in slot 0 and 1
  Purity Monitor SHV RG58 have been moved to Slot 5 and 6

## Slide 8: MPOD  Wire Bias and Cathode

## Slide 9: CE: Electrical

## Slide 10: ICEBERG PD Electrical
DUNE ICEBERG PD Documentation
  https://docs.dunescience.org/cgi-bin/private/ShowDocument?docid=11257
  https://docs.dunescience.org/cgi-bin/private/RetrieveFile?docid=11257&filename=SSP_Grounding_Cabling.pdf&version=5

## Slide 11: PD: DAPHNE Configuration

## Slide 12: PD: SSP Configuration

## Slide 13: Cryogenic Controls: As Build

## Slide 14: Summary
ICEBERG DAQ is connected to cryostat only through optical fiber.
CE Detector Electrical: We have not found any inconsistency in the DUNE grounding rules, documents submitted and as found at ICEBERG.
PD Electrical: Three differences have been found
  DAPHNE and SSP: There exists a 11kOhm resistance between the Detector Ground and +/- 2.5 V power supply return
  SSP: When switching to SSP readout the Ground Jumper cable between the 48 V and +/- 2.5 V power supplies was not removed.
  SSP: The SSP document submitted and as found, differ in ground connection.
    SSP Circuit common (Power Ground, Analog Ground, PCB Ground) is directly connected to Detector Ground.
Purity Monitor: No inconsistency found.
Cryogenic Control: No inconsistency found but drawing needs updating (as attached earlier).