Brief Overview of EPICS.
Pierrick Hanlet
18 Februrary 2020

---
Outline
1. Introduction
2. Simple View of EPICS
3. Standard Deployment of EPICS
4. EPICS Features and Tools
5. Present Work
6. Merging ACNET/EPICS
7. Conclusions

---
Outline
1. Introduction
2. Simple View of EPICS
3. Standard Deployment of EPICS
4. EPICS Features and Tools
5. Present Work
6. Merging ACNET/EPICS
7. Conclusions

---
Introduction
Some refer to EPICS as a “toolkit”
Toolkit (to me) implies user interfaces and applications only
I prefer the word “framework”
EPICS is:
a framework from which to build a control system
open source software
an international collaboration
an end-to-end set of tools and applications
EPICS history – see Andrew Johnson’s talk following this

---
Introduction
Fermilab control system, based on acnet protocol, is driven by the client – see Beau’s talk Thursday
EPICS has a different paradigm than our control system in that the front end can be built to exploit all of the functionality of a field device, e.g. in the attributes:
Alarms: severity and limits
Calibration
Some aspects of archiving
Scanning
Sequencing
Timestamp
Control limits
Operating limits

---
Introduction
There is little incentive for new employees to learn ACNET if they don’t imagine staying at Fermilab; however, those who learn EPICS can bring this skill set elsewhere. Hence, the long term maintainability of ACNET is in question – and we’re not getting younger!
Most use of controls is from the client side, namely with “ACNET” consoles and applications.
The use of EPICS within AD controls does not necessitate the abandoning of familiar applications.
We have developed front ends to talk to the DPM via DRF3
well underway – see talk on Thursday
Thus can connect FE information to familiar ACNET applications
EPICS GUIs would also be developed with the front ends so that users can use either/both ACNET/EPICS GUIs

---
Outline
1. Introduction
2. Simple View of EPICS
3. Standard Deployment of EPICS
4. EPICS Features and Tools
5. Present Work
6. Merging ACNET/EPICS
7. Conclusions

---
A Simple View of EPICS
Experimental Physics & Industrial Control Systems
HW+Drivers connect to LAN via IOCs (Input/Output Controllers)
IOC is controller (VME, PC, …) and its software
IOCs create PVs (process variables) to represent HW parameters
PVs further described with native fields
PVs available on LAN to other IOCs or clients
Client Side are different GUIs, alarms, archives, displays, ...

---
A Simple View of EPICS
EPICS “base”: the main core of EPICS, comprising the build system and tools, common and OS-specific interface libraries, Channel Access and PV Access client and server libraries, static and run-time database access routines, the database processing code, and standard record, device and driver support.
EPICS versions:
3.x.y channel access, most commonly used
4.x.y PVaccess, newer and not commonly used
7.x.y = v3 + v4 combines the two
For modernization and PIP-II, writing EPICS-based front ends means that we can start now with the software because it will be transferable to any new platform that we will choose and use in the future – only requires rebuilding for new architecture

---
A Simple View of EPICS
Features
Interfaces: serial, gpib, ethernet, modbus, snmp, …
Platforms: linux, windows, mac, VME, android, raspberry pi, ...
International support: experts around the world – rarely waited >1hr for help
Many, many device drivers already written
EPICS version 7: – see Andrew Johnson’s talk Thursday
combination of v3 (channel access) and v4 (PV access)
can use v3 IOCs and it still works
base has ~175k lines of code from 57 contributors
Code is mostly C (~60%) and C++ (~25%)
v7 has structured data – added from Channel Access
PVaccess allows for high bandwidth data (not just slow controls)
already stable but remaining bugs cleared and should be as robust as v3-14-xx by PIP-II era

---
A Simple View of EPICS
Many “record” types: e.g.
data types (binary, float, multi-bit, waveform, structures)
calculations
functional (heartbeat, computer status, busy, ...)
sequences
aSub: C/C++ function inputs PVs, processes, and outputs PVs
Record types have native “fields” to further describe record: e.g.
alarm
units
operating limits
scanning rates: time based, I/O interrupt, passive
fanouts and forward links
description
dozens of fields; these are defined in xxx.dbd files
Records are used to create PVs
PVs are used to create IOCs
IOCs then can completely describe a hardware device

---
A Simple View of EPICS
Fields common to all record types:
Field Type
SCAN	GBLCHOICE
PINI	GBLCHOICE
PHAS	SHORT
EVNT	SHORT
PRIO	GBLCHOICE
DISV	SHORT
DISA	SHORT
SDIS	INLINK
PROC	UCHAR
DISS	GBLCHOICE
LSET	SHORT
LCNT	UCHAR
PACT	UCHAR
FLNK	FWDLINK
Fields common to most record types:
Name	Summary
INP	Input Link
DTYP	Device Type
RVAL	Raw Value
VAL	Value
SIMM	Simulation Mode
SIML	Simulation Mode Location
SVAL	Simulation Value
SIOL	Simulation Value Location
SIMS	Simulation Mode Alarm Severity
For example an ai (analog input) record has ~50 fields which fall into:
scan parameters
read and convert parameters
operator display parameters
alarm parameters
monitor parameters
run-time parameters

---
A Simple View of EPICS
A PV (Process Variable) is a representation of a hardware parameter
e.g. temperature, voltage, current, flow, ...
Fields (attributes) further define a PV
dozens of possible fields
Examples:
record(ai, ‘MyPVName’) {
field(DESC, ‘This is my favorite PV’)
field(SCAN, ‘.1 second’)
field(EGU, ‘l/s’)
field(HHSV, ‘Major’)
field(HSV, ‘Minor’)
field(HIHI, ‘7.2’)
field(HIGH, ‘5.6)
field(FLNK, ‘MyNextFavPV.PROC’)
}
record(calc,"MICE-BL-ISIS-01:DBMLS") {
field(DESC,"ISIS Beam Loss difference")
field(INPA,"MICE-BL-ISIS-01:IBMLS")
field(INPB,"MICE-BL-ISIS-01:ABMLS")
field(CALC,"A-B")
field(HOPR,"3.0")
field(LOPR,"-3.0")
field(SCAN,"Passive")
field(FLNK,"MICE-BL-ISIS-02:ABMLS.PROC")
}

---
A Simple View of EPICS
Support modules are analogous to modules one might add to a kernel; i.e. they aren’t required for a stable OS, but are required for a server’s specific function.
Many support modules for HW already written
Some support modules are effectively drivers for specific hardware
user written
found on EPICS website
ask EPICS user community
One of the larger packages which contains many support modules is synApps

---
A Simple View of EPICS
Airedale
Bit8
CAEN
FINS
FINStcp
FINSudp
GeaDenco
HVSy127
HVSy4527
HVSy527
Hy8401ip
Hy8402ip
Hy8515
LeyboldTD20
LuminOx
NIKHEF_hall_probe
OmronE5AC
OxInstCryojet-2-18-3
Riello
SecurityProbe
StreamDevice-2-7
StreamDevice-2-8
TCW181B
Tracker
WTI
wienerPL508
adam4017
alive-1-0-1
areaDetector-R3-4
asyn4-18
asyn4-19
asyn4-34
asyn4-35
autosave-5-10
busy-1-4
busy-1-6
caLab_1320
calc-2-8
calc-R3-5
calc-R3-7-1
camac-2-7
cdb
cdb-python
cmsIon
commitrevision.bash
cp2800
devIocStats-3-1-9
gpib
iocStats-3-1-15
ip-2-10
ip-2-20
ipac-2.11
ipac-2.15
itc503
keithley2700
leyboldC2
leyboldTD20
makeall.bash
mks937
modbusR2-11
modbusR2-3
modbusR2-4
motor-6-11
seq-2.0.12
seq-2.1.11
seq-2.2.4
seq-2.2.5
snmp
sscan-2-11-2
sscan-2-6-6
std-2-8
std-3-5

---
Outline
1. Introduction
2. Simple View of EPICS
3. Standard Deployment of EPICS
4. EPICS Features and Tools
5. Present Work
6. Merging ACNET/EPICS
7. Conclusions

---
Standard Deployment of EPICS
An EPICS IOC is created from 3 layers:
base
support modules – built against base
code specific to the IOC and built from base and selected support modules
Presently, I have 3 versions of base: v3.14.12.8, v3.16, v7.0.3.1
I also have several versions of Support modules
I use soft links to point to the version that I want
e.g. ~/epicsDEV/base = ~/epicsPRO/base-7.0.3.1
this model may change
To set up our standard deployment:
https://cdcvs.fnal.gov/redmine/projects/ad-controls-dept/wiki/Building_an_EPICS_IOC_on_a_clx_Machine

---
Standard Deployment of EPICS
Software directory structure:
Development
/home/epics/epicsDEV/base	(build tools and core)
        /Support	(modules: asyn, seq, ipac...)
        /iocTops	(IOCs – built from base+Support)
        /Extensions	(user applications)
        /Config	(configuration files)
        /Software	(external libraries)
Production
/usr/local/epics/base
/usr/local/epics/Support
/usr/local/epics/Config
/home/epics/epicsPRO/iocTops

---
Standard Deployment of EPICS
My directory structure:
/home/epics/epicsDEV/base	(build tools and core code)
        /Support	(modules: asyn, seq, ipac...)
        /iocTops	(IOCs – built from base+Support)
        /Extensions	(user applications)
        /Config	(configuration files)
        /Software	(external libraries)
/home/epics/epicsPRO
/home/epics/epicsDEV/Extensions
        /Config
        /iocTops
        /Support

---
Standard Deployment of EPICS

---
Outline
1. Introduction
2. Simple View of EPICS
3. Standard Deployment of EPICS
4. EPICS Features and Tools
5. Present Work
6. Merging ACNET/EPICS
7. Conclusions

---
EPICS Features and Tools
- EPICS Base
  - Robust and well supported
  - Build tools – nested Makefiles
  - Configuration usually only requires modification to 1 (or 2) files
  - Supported platforms (VME, linux, MAC, windows, R-pi, android, …)
  - I/O and interrupts under the hood (only need configuration)
- Graphical User Interfaces
  - Historically, I’ve used edm for GUIs
  - Simple to learn
  - ascii configuration files
  - But, it’s not sexy
  - Avoided Control System Studio (CSS) because of eclipse, now has new java version called Phoebus (work in progress)
  - Browser based, very configurable, on the fly GUIs

---
Examples

---
Examples
Synoptic Displays

---
Examples
Synoptic Displays

---
Examples
PRY Movement
Magnetic Fields

---
Examples

---
EPICS Features and Tools
- Archiver
  - Historically, I used Channel Archiver, but little support for it now
  - Testing Archive Appliance – SLAC
  - Millions of PVs
  - Clusterable
  - Staged storage
StripTool
Probe

---
EPICS Features and Tools
- Alarms
  - Limits are HIHI, HIGH, LOW, LOLO
  - Severity is MAJOR, MINOR, NO_ALARM
  - Assuming that hardware is fail-safe, I set HIGH & LOW limits to alarm when tolerance affects desired result, and HIHI & LOLO limits are set to alarm prior to a hardware fail-safe event
  - ForcePVs allow dynamic enabling/disabling of PVs
  - Using the State Machines, limits are set dynamically with state transitions

---
EPICS Features and Tools
- Gateway
  - Makes copies of PVs on different subnets to ensure control access to PVs
  - Filters: by IP address, by user, by PV
  - Filter none, read, or read/write
  - Filter by calculation
  - Ex. at Diamond: strict limited access to controls network, another gateway to allow operator access, another for general users
- Security
  - IOC access
  - Security levels can be changed dynamically
  - Filters: by IP address, by user, by PV

---
EPICS Features and Tools
- There are many newer features and tools than I have not shown here. We are actively evaluating many of them. Examples are:
  - areaDetector (n-dimensional data) – see Mark River’s talk Thursday
  - Phoebus – (purely java based CSS without eclipse) integrated tools on a browser like platform

---
Outline
1. Introduction
2. Simple View of EPICS
3. Standard Deployment of EPICS
4. EPICS Features and Tools
5. Present Work
6. Merging ACNET/EPICS
7. Conclusions

---
Present Work
- All development work on VCLX4
- Rebuilt my code to run with EPICS-7
- Learn motor and areaDetector modules
- Five EPICS IOCs – front ends
  - Environment IOC (resurrected and modified for Fermilab)
  - Tomco 7kW RF Amplifier (2 days to write)
  - TSV-3000 RF Amplifier
  - Converting a VME 162 to a linux based 7805 and building a motor controller
  - areaDetector – cameras
  - SoC
- Archiver Appliance – modern archiver (works)
- Phoebus evaluation
Examples: archiver (3), striptool, edm/phoebus GUIs

---
Outline
1. Introduction
2. Simple View of EPICS
3. Standard Deployment of EPICS
4. EPICS Features and Tools
5. Present Work
6. Merging ACNET/EPICS
7. Conclusions

---
Merging EPICS with ACNET
- So, should we completely switch to EPICS?
  - ACNET is a mature system
  - Change is too dramatic for those embedded in ACNET
- However, most use of controls is client-side
- Keep ACNET consoles and applications
- Feed EPICS IOCs to ACNET
  - Doing this with DRF3 and the DPMs
  - Operators still see ACNET consoles
  - Can also have EPICS GUIs (edm and/or Phoebus)
- New front ends can come online as EPICS IOCs
  - When hardware is upgraded to linux-based system, IOC will only need to be recompiled for new platform, but not re-written

---
Merging EPICS with ACNET
The tough part is the mapping: – see talk on Thursday
ACNET
Device
read
set
control
Device
read
set
digital alarms
Device
read
set
IOC
PV
field
field
field
PV
field
field
field
PV
field
field
field
DPM
DRF3

---
Outline
1. Introduction
2. Simple View of EPICS
3. Standard Deployment of EPICS
4. EPICS Features and Tools
5. Present Work
6. Merging ACNET/EPICS
7. Conclusions

---
Conclusions
- Many thanks to Denise for helping to set up new tools
- Need to design configuration: servers, archiver, IOC nodes
- Several tests in progress
  - Historically, I’ve used edm for GUIs, now learning CSS/Phoebus
  - linux based VME controller and motor driver
  - areaDetector for cameras
  - Archive Appliance
  - EPICS-7 development
  - template for SoC EPICS deployment
- EPICS IOCs can “easily” be used in conjunction with ACNET applications – well underway
- Standard EPICS setup being deployed

---
Outline
1. Introduction
2. Simple View of EPICS
3. Standard Deployment of EPICS
4. EPICS Features and Tools
5. State Machines
6. Present Work
7. Merging ACNET/EPICS
8. Conclusions

---
State Machines – Problem
Different sub-systems have different needs
Each sub-system has 101–103 PVs
Many PVs have up to 4 alarm limits
Each PV has different archiving needs
For different operational states:
the PVs of interest change
the alarm limits change
the archiving needs change
the list of critical PVs change
Too much room for human error!
e.g. Powering a superconducting magnet

---
State Machines – Problem, no Problem
EPICS state notation language employed:
define equipment operational states
for each state:
define transitions out of state
set alarm limits
set archiving features
define critical variables
check for software interlocks; e.g. quench
check for errors
check for transition
All parameters come from configuration database (CDB) – ensures correct settings

---
State Machine Requirements
Subsystem Owners must enumerate the states and provide:
Description of state
Transition into state
PVs of interest
Alarm limits for PVs
Archiving features for PVs
AutoSMS (auto dialer) flag
Hardware interlocks
Software “interlocks” (enables)
Required for each state
Loaded into the CDB

---
State Machine Algorithm
For each subsystem & state, the algorithm:
Transitions:
manual
automatic

---
State Machine: SS Example
Spectrometer Solenoid Magnets:
Offline
Pumping: establish insulating vacuum
Pumped: insulating vacuum established
PreCooling: N2 pre-cooling (down to T~100K)
Cooling: cryo-coolers lower shield/cold mass T
LHeFilling: add liquid He
Cold: cold and stable
Ramping: applying current
Powered: stable operation
Quenched: quench detected
Error: error requires operator intervention
Testing: interlocks disabled for manual testing
Warming

---
State Machine: Target Example
Target Example:
Offline
Parked_Powered
Raised_Holding
Raised_Actuating
Moving_Holding
Lowered_Holding
Lowered_Actuating
Error
Unknown
 Target monitoring
Run Status
screen
ISIS
MICE
target