## Slide 1: Primary Beamline Radio-Activated Water (RAW) Peliminary Design Review
Raw Systems – General Overview
Karlton E. Williams, II
February 19 & 20, 2020

## Slide 2
Nu Beam
to SURF, SD
Proton Beam
from MI-10
Absorber Complex
Target
Complex
Primary Beam Complex
Decay Pipe
Primary
Beamline
Fermilab
Main Injector
Tunnel
Proton Beam
Extraction
Target Hall RAW Room
Absorber Hall RAW Room
RAW System - Preliminary Design Review ISO Section View of Near Site – MI-10 to LBNF-30 Absorber Complex

## Slide 3: RAW System - Preliminary Design Review Target Hall RAW Room Arrangement
BEAM
Target Hall RAW Room
Target Chase
RAW Capture Station, Air Compressors, Bottle Farm

## Slide 4: RAW System - Preliminary Design Review Target Hall RAW Room Arrangement, cont.
BEAM
Target Hall RAW Room
Piping Runs between RAW Room and Chase

## Slide 5: RAW System - Preliminary Design Review Absorber Hall RAW Room Arrangement
BEAM
Absorber Hall RAW Room
Absorber Pile
RAW Capture Station, Air Compressors,
Bottle Farm

## Slide 6: RAW System - Preliminary Design Review Absorber Hall RAW Room Arrangement, cont.
BEAM
Absorber Hall RAW Room
Absorber Pile

## Slide 7: RAW System - Preliminary Design Review Scope of Review
Review Emphasis:
The primary purpose of this review is technical in nature, to ensure the project is sufficiently mature to begin Final Design

## Slide 8: RAW System - Preliminary Design Review What Is RAW?
RAW
Radio-Activated Water
Water in a closed-loop system, regulating components in a radioactive environment, where the water will become activated due to direct or indirect exposure with beam and/or activated components
System is normally filled with deionized water, maintained at a high level of filtration, and DI status maintained if necessary, as it slowly becomes activated

## Slide 9: RAW Systems - Preliminary Design Review General Design Points
Neutrino Beamline lattice is well established
Components needing cooling are quite similar to those currently used in NuMI and MiniBooNE
RAW System design will follow closely with proven systems already in use, I.E., MI and NuMI
For both TH and AH, all RAW systems will have heat removed to the outside world via an Intermediate Cooling System (INTW), as a buffer between the RAW system and the outdoor chiller system (chiller system is part of NSCF)

## Slide 10: RAW Systems - Preliminary Design Review Preliminary Design Package
The Preliminary Design package for each system includes the following (depending upon maturity):
  System description & specifications
  P&ID’s and AFT Fathom system models
  Preliminary Design Report
  Integrated work with the Conventional Facilities (CF) and component stakeholders have tentative layouts and piping runs
  BOM for major components, instrumentation, valves, controls
Common Documents - Detailed Basis of Estimate (BOE), Gandtt Chart for schedule, Minimum Pipe Size by code

## Slide 11: RAW Systems - Preliminary Design Review System Maturity
Design work at this stage is building off the Conceptual Design work as recorded over the past 10 years
Designed for 2.4MW beam, some systems can have VE for smaller heat exchangers and/or pumps at 1.2MW beam
RAW system preliminary design work at this stage is still in progress
Largest Issue in Final Design: Keeping up with design changes as component designs mature

## Slide 12: RAW Systems - Preliminary Design Review System Maturity, cont.
Confidence of maturity of beamline component design is:
  Excellent –
    TH & AH RAW Exchange Systems
  Very Good –
    Shielding RAW
    Absorber RAW
    Absorber Intermediate
  Reasonable –
    Target RAW
    Horn A RAW
  Low –
    Horns B & C RAW
    H+OH Mediation System

## Slide 13: RAW System - Preliminary Design Review Review Committee Charge