## Slide 1
DUNE Laser Periscope Design Progress
Calibration Meeting 2-20-20
Jan Boissevain

## Slide 2
Inclinometer
Conflat 14” to Conflat 8” Adapter
Port Aligner
Thermionics RNN-600
Conflat 8” Nipple
UHVD Linear Translation Component
Laser Periscope Insert
Camera placeholder magically supported – can view either viewport
PMT placeholder – can view center viewport (shown retracted)
Explode
Alignment Target Actuator
Moveable Mirror Actuator
DUNE Laser Periscope

## Slide 3
Insulator Seal 107330 View Ports welded to top flange (Ø34.6mm) – one port centered, one port offset by 2”
Moveable Mirror Actuator
Change From SBND Laser Periscope Starting Point
SBND

## Slide 4
Thermionics RNN-600 – differentially pumped rotation component
UHV Port Aligner PA150H
Propose to connect to port purge

## Slide 5
Sony A6000 w lens
Hamamatsu 580 w base + shield
Alignment Target Actuator
Moveable Mirror Actuator

## Slide 6
Camera can view target when the alignment target is in position
Alignment Target in position
Alignment Target Actuator

## Slide 7
Laser Alignment Target Retracted
40mm x 2.5mm wall x 1515mm long fused silica tube shown x2
Lower Laser Periscope Subassembly – allows installation into DUNE without a hatch
3268mm

## Slide 8
Rotating Mirror Positions -1
Fixed Mirror
Laser Path
Moveable Mirror
Laser Path After Reflections
Laser Path

## Slide 9
Rotating Mirror Positions -2

## Slide 10
DUNE
2484mm
Flange top
G10 I-Beam bottom

## Slide 11
Mirror
First Try at a Laser Table
DUNE

## Slide 12
Beam
Location 1
Location 2
Location 3
Possible Laser Periscope Locations

## Slide 13
2597mm
ProtoDUNE II
Dimension is from this surface to the flange top
Location 1

## Slide 14
Interference
ProtoDUNE II
Location 2

## Slide 15
Preferred Port Location 2
Interference Problem

## Slide 16
Location 3