## Slide 20
I. Yamada, OLAV-VI: 6th Workshop on the Operation of Large Vacuum Systems, Apr. 2024
TMP off
TMP on
10-4
10-6
10-8
10-10
10-12
Pressure [Pa]
Ion current [A]
11 days
Only TMPs
Less than 5x10-8 Pa
TMP off
TMP on
11 days
TMPs + NEGs
H2
Ar
N, N22+
H2O
O, O22+
N2, CO
O2
CO2
Build-up ratio
H2
Ar
N, N22+
H2O
O, O22+
N2, CO
O2
CO2
[x10-2 mbar]
[x10-2 Torr]