## Slide 1
From Optical to X-Ray Ghost Imaging
Thomas Smith, Zhehui (Jeff) Wang, and Yanhua Shih

## Slide 2
Classical Imaging
Gaussian thin lens
equation
Imaging: a point-to-point mapping between the object plane and the image plane; all radiations emitted or scattered from a point on the object plane “collapse” to a unique point on the image plane.

## Slide 3
Classical Imaging: result of first-order interference
(1) Light from each interfere constructively at an unique
and interfere destructively at all other points;
(2) Light received at comes from a unique point due to the
constructive-destructive interference.

## Slide 4
So
Si
Ghost Imaging: the 1995 experiment
Pittman et al., PRA, 52, R3429 (1995); PRL, 74, 3600 (1995).
Biphoton
Source

## Slide 5
Bucket
Detector
CCD
Array
Entangled Ghost Imaging
Klyshko’s “unfolded” picture of the 1995 Ghost Imaging experiment

## Slide 6
In the 1995 ghost imaging paper (PRA, 52, R3429), it was concluded:
“… indeed it is possible to imagine some type of classical source that could partially emulate this behavior…”

## Slide 7
It took 10 years to figure out how to experimentally achieve self-interference of two randomly paired and randomly created photons in thermal state; a lensless ghost imaging experiment using thermal light source was successfully demonstrated in 2005.
A. Valencia, G. Scarcelli, M. D’Angelo and Y.H. Shih, PRL, 94, 063601 (2005).

## Slide 8
A photon counting detector, D2, is used to collect and to count all the photons that are randomly scattered-reflected from the toy soldier. A CCD array (2D) was facing the light source instead of the object. An image of the soldier was observed in the measurement of photon number fluctuation correlation of D2 and the CCD.
Lensless thermal light Ghost Imaging
R. Myers, K.S. Deacon, and Y.H. Shih, Phys. Rev, A77, R041801 (2008).

## Slide 9
Lensless thermal light Ghost Imaging
d
d
CCD
Array
Bucket
Detector
Klyshko’s picture of the thermal light Ghost Imaging experiment
j
k
A large number of randomly distributed and randomly paired subfields superposed constructively at , and destructively at all other transverse coordinates in the intensity fluctuation correlation measurement.
- Result of self-interference of a random pair of photons

## Slide 10
Two-photon interference
vs
Speckle-to-speckle correlation

## Slide 11
Speckle-to-speckle correlation
D2
D1
A. Gatti, et al., Phys. Rev. Lett. 90, 133603 (2003).

## Slide 12
Classical Simulation: correlated laser beams
The point-to-point correlation is made shot by shot by two co-rotating laser beams. A ghost shadow can be made in coincidences by “blocking-unblocking” of the correlated laser beams.
R.S. Bennink, S.J. Bentley, and R.W. Boyd, Phys. Rev. Lett. 89, 113601 (2002).

## Slide 13
Lensless Ghost Imaging: Turbulence-free
Refractive index structure
parameter:
“…extremely high level of
atmospheric turbulence…”
R. Meyers, K.S. Deacon, Y.H. Shih, Applied Phys. Lett., 98, 111115 (2011).
Classical images are “blurred” out.

## Slide 14
Turbulence-free Camera
Tarsier Camera: turbulence-free with
resolution beyond classical limit
Natural
White Light

## Slide 15
How does lensless ghost imaging with thermal light work?

## Slide 16
Einstein’s Picture
In a thermal state, a large number of subsources randomly emit subfields (photons) with random phases. These subfields propagate through space and time, 𝑔𝑚(𝒓, 𝑡).
Subsources
Subfields
𝐸𝑚(𝒓, 𝑡) = 𝐸𝑚(𝒓𝑚, 𝑡𝑚) 𝑔𝑚(𝒓, 𝑡)
𝐸𝑚(𝒓𝑚, 𝑡𝑚) = 𝑎𝑚(𝒓𝑚, 𝑡𝑚) 𝑒𝑖φ𝑚
𝑔𝑚(𝒓, 𝑡) = 𝑒𝑖(𝒌∙(𝒓 - 𝒓𝑚) - ω(𝑡 - 𝑡𝑚))
𝐸𝑚
𝐸𝑛
𝐸𝑝
𝑔𝑚
𝑔𝑛
𝑔𝑝
Propagators

## Slide 17
Measuring Intensity
When photons of all possible phases are present in a measurement, only the 𝑗=𝑘 terms survive.
In an actual measurement, often the light source is too dim, or collection time too short to collect all possible phases. The 𝑗≠𝑘 becomes a non-zero fluctuation about a mean intensity.

## Slide 18
Which is the cross term of the following superposition:
Intensity Fluctuation Correlation

## Slide 19
Lensless thermal light Ghost Imaging
d
d
CCD
Array
Bucket
Detector
Klyshko’s picture of the thermal light Ghost Imaging experiment
j
k
- Result of self-interference of a random photon pair

## Slide 20
How does turbulence affect this measurement?
d
d
CCD
Array
Bucket
Detector
Optical turbulence introduces random phase shifts to the potential paths of propagation of each photon. With each path experiencing a different phase shift, the image will be blurred.
j
k

## Slide 21
D1
D2
However, the blue and red two-photon amplitudes experience the same turbulence with the same phase variation when
Source
Achieving Path Overlap

## Slide 22
Lensless Ghost Imaging: Turbulence-free
Refractive index structure
parameter:
“…extremely high level of
atmospheric turbulence…”
R. Meyers, K.S. Deacon, Y.H. Shih, Applied Phys. Lett., 98, 111115 (2011).
Classical images are “blurred” out.

## Slide 23
A Turbulence-free Double-slit Interferometer
The blue and red two-photon amplitudes experience the same turbulence with the same phase variation when .
T. A. Smith and Y. H. Shih, Phys. Rev. Lett., 120, 063606 (2018).

## Slide 24
(C) Without turbulence, the measurement of
produces an interference pattern
when .
(D) When turbulence was introduced, the interference pattern in remained with almost 100% visibility!
(A) Without turbulence, the classic double-slit interferometer produces an interference pattern in when .
(B) When turbulence was introduced, the turbulence “blurs” the classic double-slit interference pattern in completely.

## Slide 25
What About X rays?
X–ray Beam
“Pixel Array” Camera
X-ray
Beam Splitter
Computer
“Bucket Detector”
Camera
LANL
Object
Required exposure time?
X-ray beam splitter?
Bragg/Laue diffraction,
perhaps metamaterial?
Faster the better, ideally within the coherence time of the light

## Slide 26
X ray Ghost Imaging
Pros
Point-point imaging without the need of a lens
Fewer photons required to form an image
Up to nanometer resolution
Ability to generate 3D images
Potentially Insensitive to optical turbulence
Cons/Obstacles
More time needed than standard intensity measurements
Prefer a 50/50 beam splitter
Prefer single frame detection times shorter than the coherence time of the X rays

## Slide 27
Thank you!