Title
High Availability Hands On Session
http://fermigrid.fnal.gov
Steven C. Timm
FermiGrid Services Group, Fermilab
with significant contributions from
Dan Yocum and Keith Chadwick
OSG Site Admins@IUPUI
August 6, 2009

---
Introduction
FermiGrid has run Highly Available VOMS, GUMS, MySQL, SAZ, and Squid servers for 1 year now, with uptime stretches of 6 months with 99.9952% uptime.
GUMS and SAZ rates are regularly 18k/hr.
Available HA Technologies
Overview of how we made GUMS and VOMS highly Available
What services are next to make highly available
Preview of tutorial

---
Planning a High Availability System
Highly available facility, UPS preferable
Redundant power, two different power panels.
Heartbeat—ways for a system to check that the other system is alive.
How to get the ip traffic forwarded to the right system or systems
How and where is the state of the application stored
How to keep the multiple masters in sync
How to maximize throughput and minimize power

---
Example: GUMS
All state information stored in MySQL database
Web service on a single port, easily redirected if necessary
High availability and high throughput essential
Develop a shared-nothing system
(no NFS, no SAN)
GUMS can run in limited memory, but is one of several tomcat apps that wants the port 8443—good candidate for Xen.
As a site administrator you should be running GUMS even if you are a small site. We are making the grid-mapfile instructions harder to find every time.

---
IP HA technologies
FermiGrid considered three options
  - Round robin DNS
  - Linux Virtual Server
  - Switch-based load balancing.
Selected Linux Virtual Server
  - Piranha product from Red Hat
  - Use Direct Routing (LVS-DR) method
  - Trying to extend this to IP tunneling.
Listens on voms.fnal.gov, gums.fnal.gov, saz.fnal.gov, fg-mysql.fnal.gov, squid.fnal.gov, voms.opensciencegrid.org, osg-ress-1.fnal.gov, osg-ress-4.fnal.gov
Re-directs connections based on IP+port to backend “real servers”
  - Uses weighted least connections (WLC) to schedule connection requests
  - Other algorithms available

---
HeartBeat
In LVS-DR, real servers respond directly to client
  - LVS “pings” services for availability
    - Removes service from scheduling if unavailable
    - Adds service back in when available
  - LVS master server is fg5x0
  - LVS backup server is fg6x0
    - Active-passive configuration
    - Failover in 6 seconds “pulse” daemon
    - Active connections to backend servers are maintained
  - If a service or real server fails during an open connection, the connection is lost.

---
MySQL
Investigated several technologies
    - MySQL Cluster
    - drbd – distributed remote block device
    - mysqlhotcopy
    - mysqldump + rsync
    - Multi-master replication (requires MySQL >v5.0.2)
Decided on Multi-master replication
  - Scales well to 10 systems
    - currently only using 2
  - Near real-time replication, 1.1ms for 1KB record
  - Database server outages handled correctly
    - Logs replayed after server rejoins chain

---
MySQL Replication
Complete failure requires full copy (obviously)
  - >2 systems require special techniques to close the circular chain in the event of failure
Service Replication
  - 2 VOMS “servers”, one each on fg5x1 & fg6x1
    - Each machine serves 12 VOs
  - 2 GUMS servers, one each on fg5x2 & fg6x2
  - 2 SAZ servers, one each on fg5x3 & fg6x3
  - All services use replicated MySQL servers on fg5x4 and fg6x4
  - No source code modifications

---
Organization of VM’s
Xen Domain 0
LVS (Active)
Xen Domain 0
LVS (Standby)
Active	fg5x1
VOMS
Xen VM 1
Active	fg6x1
VOMS
Xen VM 1
GUMS
Xen VM 2
GUMS
Xen VM 2
Active	fg5x2
Active	fg6x2
Active	fg5x3
SAZ
Xen VM 3
Active	fg6x3
SAZ
Xen VM 3
MySQL
Xen VM 4
MySQL
Xen VM 4
Active	fg5x4
Active	fg6x4
Active
fermigrid5
Active
fermigrid6

---
FermiGrid-HA
Client
LVS
active
LVS
backup
SAZ
GUMS
VOMS
active
active
active
GUMS
SAZ
VOMS
active
active
active
LVS
active
LVS
backup
MySQL
MySQL
active
active
Note 1: All network connections are on the public network
Note 2: LVS directors displayed separately for convenience – they are the same in reality

---
Near-trivial HA
Web-services listener for the BDII. No persistent state
  - GOC recently deployed this.
ReSS Information Gatherer—No persistent state
  - Osg-ress-1 and osg-ress-4 were deployed in June.
Ganglia—just set up two and have gmond send to both
Condor Collector/Negotiator
  - Condor has its own HAD daemons that can transparently fail over the negotiator between several collector-running machines. All our production clusters running these.

---
Now comes the hard part
MyProxy—state is stored in flat files on the file system
condor_schedd—has native HA availability but requires shared FS between two machines.
Pre-ws Globus gatekeeper / gsiftp
  - Needs state information in $GLOBUS_LOCATION/tmp
We have converted condor_schedd and globus gatekeeper to run on “service ip’s” so the service can move from machine to machine.
NFS-lite also needs all the home directories of the users.
NFS server replicated by DRBD is OK for myproxy, not for globus stuff.
FermiGrid has HA “Bluearc” NFS server but don’t want to put this data across public net if possible.
  - Proxies moving across NFS in the clear have been sore point from beginning of OSG with no clear resolution.
DRBD doesn’t always play nice with Xen kernels. Some kernel hackery may be required.

---
Hard Part, continued
Gratia databases (>100GB) not amenable to multi-master MySQL replication
  - But Gratia has its own record-based replication strategy and we will use it to duplicate the collectors and mysqldb
  - Goal is to have one collector/mysqldb for queries and reports, the other one dedicated for inserts.
WS-GRAM—Crazy file locking precludes NFS, but all state is in files somewhere.
Spread out the HA across the Fermilab site in case of a building outage.

---
Xen and HA
Many OSG services are now well-enough behaved to run in 2GB of RAM or less. (VOMS, GUMS). They are not big cpu loads either, especially not VOMS.
But they all want the same ports and you want to start them independently
Current servers have 8 cores, 16GB RAM
We divide each into 4 or 5 Xen domains

---
Xen and HA continued
Stock Xen 3.1.2 comes with RedHat/Centos/SL 5 update 2.
Xen guest reboots in 5-10 seconds
Base Dell PowerEdge server takes 3-5 minutes.
We started with four services machines (one for each of voms, gums, saz, mysql) and condensed them into 2 physical servers, with 2 instances of each.
This summer we used the HA features to move the whole system from old to new hardware without scheduling a downtime.
In production we have used exclusively “Paravirtualized” Xen hosts.
Test Bestman-xrootd gateway deployed with Fedora 10 and KVM—smooth operation but some file and network slowness.

---
Poor man’s HA
Split the cluster in half, each half with a head node so you will never lose more than ½ cluster at once with a head node failure.
Have 2-4 gatekeepers going into a single cluster so that cluster is still accessible. Also a must for throughput to big condor clusters.
Install your single head node using Xen, it is much easier to move it to another piece of hardware later.

---
The HandsOn part
Go to Google Docs
(request an invite from StevenCTimm@gmail.com if necessary).
Or grab the exported PDF file that is on the Indico page and/or the Twiki.
http://docs.google.com/Doc?docid=0AVY11NMVz7mPZGdmNjg0bWZfMmZiNWttbmQ0&hl=en
Major parts:
  - LVS Server
  - Pulse/heartbeat configuration
  - Multi-master mysql
  - Redundant GUMS.