## Slide 1: Future of cLFV using muons
Stefan Ritt, Paul Scherrer Institute, Switzerland
- a technological approach

## Slide 2: Predicting the Future
11th Real Time Conference, Santa Fe, NM, 1999
What will dominate the future of DAQ?
PCs for Data Acquisition
Linux as Operating System
Java for DAQ programming
→ 66% success rate

## Slide 3: Agenda
Introduction to cLFV experiments
Technical requirements
Current and future solutions
  Muon beams
  Calorimetry
  Tracking
  Timing
  (Crate standards)
  Data visualization

## Slide 4: Why is cLFV so interesting?
New physics can be explored through virtual loops in low energy high precision experiments, reach O(100 TeV)
While cLFV is forbidden in SM, it is possible on most SM extensions
g
W-
m-
nm
ne
e-
g
m-
e-
Standard Model
SUSY
Experimental limit: BR(m+ → e+g) < 5.7 x 10-13
MEG collaboration, PRL 110 (2013) 201801
m+ → e+g

## Slide 5: cLFV with muons
m+ → e+ g | m+ → e+ e- e+ | m- N → e- N
Signal
Dominant Background
g
m
180°
52.8 MeV
g
m
< 52.8 MeV
n
m
n
n
n
e
e
e
m
e
e
e
e
e
e
n
n
m
< 52.8 MeV
m
e
p
e
g
e
beam pion
52.8 MeV
N
MEG I, MEG II (CH)
Mu3e (CH)
Mu2e (US), COMET (JP), DeeMe (JP)
m
e
n
n
Decay in orbit

## Slide 6: History of cLFV experiments
1940
1950
1960
1970
1980
1990
2000
2010
2020
2030
10-0
10-1
10-2
10-3
10-4
10-5
10-6
10-7
10-8
10-9
10-10
10-11
10-12
10-13
10-14
10-15
10-16
10-17
m → e g
mA → eA
m → eee
MEG I
MEG II
Mu3e (phase 1)
Mu3e (phase 2)
COMET (phase 1)
COMET (phase 2)
Mu2e
stopped p
m beams
stopped m

## Slide 7: Requirements for cLFV experiments
Muon beam
  10-17 sensitivity requires >1017 muons per year
  stopping target (low mass)
  pulsed vs. DC beam
Gamma detector (m+ → e+ g)
  Good efficiency (solid angle)
  Good resolutions in energy, position and time
Positron/Electron detector
  Good position resolution for momentum, tracking, vertexing
  Good time resolution
20 – 100 MeV

## Slide 8: Muon Beams

## Slide 9: Pulsed vs. DC muon beam
Coincidence experiments
m+ → e+ g m+ → e+ e- e+
Limited by accidental background
Rbck ∝ Rm2
DC muon beam is best
m rate
events
background
signal
sensitivity
m – e conversion
Limited by pions in beam
Contamination <10-17
Only possible with pulsed beam
time
protons
pions
tp=26 ns
muons
tm=2.2 ms
Detector active
1-2 ms

## Slide 10: Current and planned muon beams
Laboratory | Beam line | DC rate [Hz] | Pulsed rate [Hz]
PSI (CH) 0.59 GeV / 1.3 MW | LEMS | 4･108 (m+) | 
 | pE5 | 1.6･108 (m+) | 
 | HiMB | 1･1010 (m+) (>2018) | 
J-PARC (JP) 3 GeV / 210 kW (planned 1 MW) | MUSE D-line |  | 3･107 (m+)
 | MUSE U-line |  | 6.4･107 (m+)
8 GeV / 56 kW | COMET |  | 1･1011 (m-) (2020)
8 GeV / 300 kW | PRISM/PRIME |  | 1011-1012 (m-) (>2020)
FNAL (USA) |  |  | 
8 GeV / 25 kW | Mu2e |  | 5･1010 (m-) (2020)
0.8 GeV / 100 kW | PIP-II |  | 2･1012 (m-) (> 2022)
TRIUMF (CA) 0.5 GeV / 75 kW | M20 | 2･106 (m+) | 
RAL-ISIS (UK) 0.5 GeV / 75 kW | RIKEN-RAL |  | 1.5･106 (m+)
KEK (JP) 0.5 GeV / 2.5 kW | Dai Omega |  | 4･105 (m+)
RCNP Osaka (JP) 0.4 GeV / 400 W | MUSIC |  | 104 – 105 (m+/m-) (2016)
DUBNA (RU) 0.66 GeV / 1.6 kW | Phasatron |  | 3･104 (m+)
running
planned

## Slide 11: Beam requirements
Experiment | Optimal rate | Possible rate
MEG I | 3･107 | 1･108
MEG II | 7･107 | 1･108
Mu3e Phase I | 1･108 | 1･108
Mu3e Phase II | > 109 | 1･1010 (>2018)
Mu2e | 5･1010 | 5･1010 (2020)
COMET Phase I | 1.3･109 | 1.3･109 (2018/19)
COMET Phase II | 1･1012 | 1･1011 (>2020)
Long term future:
More muons
More muons
More muons

## Slide 12: PSI Beam Lines
Target E

## Slide 13: HiMB @ SINQ target
Muons transported opposite of proton beam in a solenoidal channel
Capture large solid angle of full proton beam
First estimates > 1010 m / s
Problems:
  SINQ moderator tank imposes severe constraints
  Source collection too low without significant SINQ redesign (impractical) → given up
SINQ target

## Slide 14: HiMB @ EH
Solenoid Beamline in the Experimental Hall
Just Schematic

## Slide 15: HiMB @ EH details
Feasibility study started 2014
Preliminary conclusions:
  A new 20 mm rotated graphite target seems optimal for muon production
  A capture solenoid (0.5 T) at d = 250 mm can catch 1.5･1010 m / s
  A solenoidal beam line can transport ~1･1010 m / s
  minor impact on other PSI beam lines
Final conclusion by the end of this year, design will probably follow
p
Conventional beamline (mE4)
Proposed solenoidal beamline
1.3･1011 m / s
5･108 m / s
1･1010 m / s

## Slide 16: Calorimetry

## Slide 17: Requirements for photon detector
Good efficiency (high Z)
Large solid angle
Good energy resolution
Good position resolution
Good time resolution
g
m
180°
52.8 MeV
g
m
< 52.8 MeV
n
m
n
n
n
e
e
e
< 52.8 MeV
52.8 MeV
Signal Energy
Total BG
g
m
< 52.8 MeV
e
< 52.8 MeV
n
n
Radiative Decay
Radiative BG
Pileup BG
g Background

## Slide 18: Calorimetry MEG I
g
MC
Real event

## Slide 19: Calorimeter waveforms
g
a
g
a
m
m
DRS4 Chip: 5 GSPS / 11.5 bits
900 channels

## Slide 20: Calorimetry MEG II
Resolution | MEG I | MEG II
x (mm) | 5 | 2.4
y (mm) | 5 | 2.2
z (mm) | 6 | 3.1
Eg (z<2cm) | 2.4% | 1.1%
Eg (z>2cm) | 1.7% | 1.0%
tg (ps) | 67 | 60
New Hamamatsu VUV SiPM
Tomorrow: Calorimetry Ryu Sawada: “Noble liquid calorimetry”

## Slide 21: Future calorimetry
Event 1
Event 2
light
Optical TPC
use light and TOF with ~ps resolution to reconstruct full shower
Tomorrow: Photodetectors Eric Oberla: “Optical TPC”
e-
e-
TPC
use only primary e-
use pixel amplifiers with ultra low noise (< 4e, R. Horisberger, PSI, priv.comm.)
G. Signorelli (Pisa): FOXFIRE project

## Slide 22: Tracking

## Slide 23: Requirements for charged particle detection
High efficiency and acceptance
High rate capability (108-1011 hits/s)
High energy resolution
  Magnetic spectrometer O(1T) → good position resolution O(100 mm) → ultra low mass to reduce multiple scattering
  EM calorimeter (time, trigger)
m
e
e
e
m+ → e+ e- e+ n n
n
n
MEG I
Mu2e
COMET

## Slide 24: Tracking with DCs and Straws
MEG I
MEG II
sR = 210 mm
sZ = 800 mm
Stereo wires
sR = 120 mm
sZ = 170 mm
Cluster counting

## Slide 25: New idea: “Wire-TOF”
Charge division along a wire (DC/Straw) gives ~2 cm resolution
Measuring TOF with new electronics should be much better!
4.2 ps
Speed-1: 7.5 ps / mm
Resolution: 560 mm
Tomorrow: Tracking & Vertex Anatoly Ronzin: “Fast Timing”
DRS4
Evaluation
Board

## Slide 26: Tracking with HV-MAPS
High Voltage Monolithic Active Pixel Sensors (HV-MAPS)
Reverse biased ~60 V
  fast charge collection < 1ns
  can be thinned to ~50 mm !
  standard HV CMOS technology: ~1000 $ / 8” wafer (3.2 $ / cm2 vs. 100 $ / cm2 for hybrid pixels)
Prototypes successfully tested for Mu3e experiment
  80 mm x 80 mm pixels
  > 99% efficiency
  timing resolution <17 ns
  hit rate capability > 1 MHz / cm2
  X/X0 = 0.1% including frame, flex print, …
50 mm thin silicon wafer
→ attractive replacement for gas detectors!
(minus cooling problem)
Mu3 phase 1B

## Slide 27: Can’t we make that simpler?
Mu2e
COMET
MEG I
Gas detectors for low mass and good resolution
Scintillation detectors for good timing and triggering
Mu3e

## Slide 28: HVMAPS + TDC
HVMAPS+TDC
Current Mu3e MUPIX
50 ps TDC resolution has been demonstrated with SiPMs:
S. Mandai et al., IEEE TNS 61 (2014) 44
(Delft University, the Netherlands)

## Slide 29: TPC for cLFV experiments
m
E
Pixel amplifiers/SiPMs
R. Horisberger, PSI:
excellent energy resolution
tracking at high rate
problem: ageing
109 tracks / s
G. Barbarino et al, arXiv:1407.2805
No gas gain (ageing!)
VSiPMT can directly detect e- @ 3 keV (less with reduced SiO2 layer)
QE = 100% ∙ fill factor, 100 ps timing
SiPM
Photocathode
VSiPMT (Hamamatsu)
E
Calorimeter
e-

## Slide 30: Timing

## Slide 31: Timing requirements for Mu3e
2 x 109 m stops/s, 50 ns frame rate
100 m decays

## Slide 32: Timing requirements for Mu3e
2 x 109 m stops/s, 50 ns frame rate
Additional time detector (<1ns): 2 m decays

## Slide 33: Timing requirements for MEG
Limited by accidental background
Timing can help to separate signals from background
g time from LXe calorimeter
e+ time from dedicated timing counter
g
m
g
m
n
m
n
n
n
e
e
e
Resolution (ps) | MEG I | MEG II
Dtg | 67 | 60
Dte | 107 | 35
Dte-g | 127 | 84
All values in sigma!

## Slide 34: Electronics for timing
Switched capacitor array chips give excellent timing:
  PSEC4 (Chicago): 9 ps, DRS4 (PSI): 1.4 ps
TDC follow up:
  TDC130 (CERN): 2.4 ps, SAMPIC (Saclay): 6.5 ps
Precision clock distribution possible
  MEG I: 20 ps, MEG II: 5 ps
arXiv:1405.4975
DRS4

## Slide 35: Timing limitation
voltage noise Du
timing uncertainty Dt
signal height U
rise time tr
number of samples on slope
only for waveform digitizing
SNR-1
Sampling
speed
Analog
bandwidth
Simplified estimation!
 | Today | NG
U | 100 mV | 100 mV
Du | 1 mV | 1 mV
fS | 2 GSPS | 10 GSPS
f3dB | 300 MHz | 3 GHz
Dt | ~ 10 ps | 1 ps
Sampled Waveform

## Slide 36: Timing resolution with SiPMs
Timing method: CF (20%)
SiPM: MPPC S10362-33-050 (3･3 mm2)
Scintillator: BC422 (3･3･2 mm2)
fill factor area SiPM / area Scint.
120 mm
MEG II timing counter
6 SiPMs in series
Expected (point source) | Dt=(1.14･20ps) / √ (0.135･0.9 MeV)= 65 ps
Measured (uniform illumination) | 75 ps
Hit position error | ~40 ps
A. Stoykov et. al. (PSI): NIM A695 (2012) 202

## Slide 37: Road to better timing
Aim for complete coverage (k=1)
Reduce counter size (increases channel count 😕)
Integrate readout electronics into detector (avoid long cables)
MEG
Scintillator
SiPM
PCB
ASIC: Amp.+Disc.+TDC+Serializer
SiPM HV
Planned for Mu3e
timing counters using
MuSTiC chip (KIP HD)

## Slide 38: Data Visualization

## Slide 39: Experimental Data Visualization
The traditional way
  Dedicated programs (ROOT, Qt, TCL/TK, …)
  Must be compiled for different OS
  Require certain libraries to be installed
  No smartphone support

## Slide 40: A new opportunity
HTML5 – CSS3 – JavaScript – JSON

## Slide 41: Canvas Object
<!DOCTYPE html>
<html>
<body>
<h1>Canvas Demo</h1>
<canvas id=“myCanvas” width=“200”
height=“100” style=“border:1 px solid black”>
</canvas>
<script>
var c = document.getElementById(“myCanvas”);
var ctx = c.getContext(“2d”);
ctx.fillStyle = “red”;
ctx.fillRect(20,20,160,60);
ctx.strokeStyle = “blue”;
ctx.moveTo(0,50);
ctx.lineTo(200,50);
ctx.stroke();
ctx.beginPath();
ctx.arc(100,50,40,0,2*Math.PI);
ctx.stroke();
</script>
</body>
</html>
HTML
JavaScript

## Slide 42: DRS4 Web Oscilloscope
http://midas.psi.ch/scope

## Slide 43: Smartphone and Tablet

## Slide 44: Another Display
Adam Garnsworthy,
TRIUMF, CA
grifadc05.triumf.ca

## Slide 45: Data Transport
mongoose.h
mongoose.c
Hardware
driver
PC
Controller
FPGA with soft-core
AJAX
JavaScript
Canvas
{ “event” : {
“scale: “100mV”,
“tscale: “100ns”,
“waveform”: [
{“t”: “0ns”, “u”: “ 3.8mV”},
{“t”: “1ns”, “u”: “12.5mV”},
{“t”: “2ns”, “u”: “31.2mV”},
{“t”: “3ns”, “u”: “48.8mV”},
…
]
}}
JSON encoding
For bulk data: “Typed arrays”
(~5 times faster)
Browser
Internet
x = event.waveform[i].t;

## Slide 46: 3D Canvas
http://goo.gl/WKkjA6
http://threejs.org

## Slide 47: Future of visualization
Experiment data can be displayed on any browser (soon)
  HTML5 is standardized through W3C
  No software to install, no libraries required
  Central updates of software
  Only raw (binary) data needs to be transferred (as opposed to remote desktop applications)
  Perfect for remote monitoring and control
  Easy to learn (Scope took me one week from scratch)
Web server can be incorporated into any web device (“Internet of Things (IoT)”)

## Slide 48: Conclusions
Learn HTML5
Try wire-TOF if you use gas detectors
Invest in HV-MAPS technology
Work on electronics-on-detector integration
Have more exchange in technical sectors between cLFV experiments
Thanks to: Satoshi Mihara, Ryu Sawada, Alexey Stoykov, Peter-Raymond Kettle, Zachary Hodge, Felix Berg, Roland Horisberger, André Schöning, Nik Berger, …

## Slide 49: Spare Slides

## Slide 50: Crate Standards

## Slide 51: Bus/Crate Standards
Current standards lack functionality or are expensive
  ps clock distribution
  trigger distribution
  complicated shelf management
  typical 1 k$ per (empty) slot 6 HE
For MEG II, we developed our own standard
  stackable without dead space
  dual star gigabit link topology
  system-wide clock (ps jitter) and triggering
  program all (!) FPGAs through shelf manager
  crate high voltage for SiPMs
  cost 125 $ per slot 3 HE
Tomorrow: Markus Joos: Crate standards at CERN
A personal view from a crazy physicist

## Slide 52: WaveDAQ System
Crate Management Board
Power supply 24V / 300W
Fan / Temp. control
Power cycle each slot
FPGA Firmware upload
Ethernet remote control
Fans blow from back to front
16 WaveDREAM boards (256 channels)
Data Concentrator Board
Trigger Concentrator Board

## Slide 53: MEG II System
35 crates x 256 channels = 9000 channels
. . .
Trigger Board
Trigger Board
WaveDREAM Board
DRS4 5 GSPS / 11.5 bits