## Slide 1: Materials and Assay Concerns in Next Generations ULB Physics Experiments
Materials radiopurity
  What are the next-generation materials of major concern (re: structural, electrical, thermal, etc. specs)?
    Stronger, radiopure copper alloys?
    Polymers?
    Cabling/connectors?
    Electronics
    Alternative isotopic enrichment techniques (microchannel distillation, etc.)
With more complex designs come more backgrounds
  Simplifying a design solution is better when it comes to backgrounds
  Fiducialization helps, but can lower backgrounds help us to get away from this?
Materials purity (not just radiopurity)
  What mucks with what?

## Slide 2: Materials and Assay Concerns in Next Generations ULB Physics Experiments
Assay techniques – are they sensitive enough?
  Whack a mole, but which mole?
Secular disequilibrium
  What lies beneath? And how do we get a peak (pun intended)?
    238U, 232Th ICP-MS/NAA: sub-microBq/kg
    U/Th progeny: Ge counting: 10 microBq/kg?
    210Pb Techniques: 1 milliBq/kg
Fighting entropy
  The detector needs to be assembled cleanly in a dirty, dusty, radon filled world
How do you ever know the detector is good enough until you turn it on
  Do we need to measure everything? Can we?
Maintaining capabilities to eliminate “leap frogging” the technology
  Capabilities and expertise lost between projects that fund technology development