## Slide 1
Jonathan Hunt, L3 Manager
Electrical Systems (Cables & Racks) PDR
August 31, 2020
121.04.04 Building Infrastructure (BldgI)
Introduction & Overview of Electrical Systems L4

## Slide 2: Introduction
Welcome to the Preliminary Design Review for the Building Infrastructure – Electrical Systems (Cables and Racks)!
Review Committee:
Chris Jensen – Committee Chair – AD/EE Support
Matt Boyes – SLAC
Steve Hays – AD/EE Support

## Slide 3: Project Team
Jonathan Hunt – Level 3/Control Account Manager for Building Infrastructure. Maurice Ball will be taking over this role starting 9/1/20.
Ryan Crawford – Level 4/Subject Matter Expert for AC power distribution, cable specifications, layouts, racks
Michele McCusker-Whiting – Application developer for the PIP-II cable database

## Slide 4: Review Charge Questions
Is the Linac Complex electrical system design and its associated documentation at the preliminary design level (~30-50%)?
Are the engineering approaches and methodologies presented herein suitable to meet project requirements?
Have lessons learned from other projects been incorporated into the design?

## Slide 5: Agenda

## Slide 6: End Intro – Start Overview

## Slide 7: Overview Outline
Overview of the scope of work for Electrical Systems WBS
Where BldgI Electrical starts, ends, and everything in-between
Cost and Schedule highlights

## Slide 8: WBS Definition
WBS 121.04.04 – Building Infrastructure
WBS 121.04.04.01 – Project Management
WBS 121.04.04.02 – Cable Database and Layout
WBS 121.04.04.03 – Mechanical Systems
WBS 121.04.04.04 – Electrical Systems

## Slide 9: WBS Definition
WBS 121.04.04.02 – Cable Database and Layout
“Layout design for racks, cables, and cable trays in the High Bay Building, Linac gallery, Linac tunnel, and Beam Transfer Line. Also includes effort towards tailoring the cable database to meet PIP-II needs.”
WBS dictionary PIP-II-doc-599
WBS 121.04.04.04 – Electrical Systems
“Design of the AC power distribution (480V, 208V, 120VAC, cable tray & grounding) for the Linac High Bay Building, Linac tunnel, Linac gallery, Beam Transfer Line tunnel and the Utility Plant at the Cryoplant Building. Also includes, the layout planning, procurement and QA, but not installation, of accelerator sub system electrical connections (standard system cables, connectors, racks & grounding) for the Linac High bay, Linac tunnel, Linac gallery and Beam Transfer Line tunnel.”

## Slide 10: PIP-II Linac Complex
Building Infrastructure – Electrical Infrastructure Locations
Linac Gallery
Linac Tunnel
High Bay Building
Utility Plant in the Cryoplant Building
Beam Transfer Line

## Slide 11: Cross Section of Linac Gallery and Tunnel
Linac Gallery
Linac Tunnel
Penetrations
Utility Trench

## Slide 12: Scope and Deliverables
Design:
  PIP-II cable database
  Implementation strategy for power distribution and grounding
  Rack layout specifications and grounding
  Cable routing and cable plant management
Procurement:
  Standard cables and connectors for Linac Complex
  Standard relay racks
  Grounding from cable trays to racks
Installation:
  Cables, racks, and grounding for Process Cooling Water system controls in Utility Plant of Cryoplant Building

## Slide 13: Organization
WBS 121.04.04.02
Cable Database
M. McCusker-Whiting
R. Crawford
WBS 121.04.04.03
Mechanical Systems
Yurick Czajkowski
M. Ball
WBS 121.04.04.04
Electrical Systems
R. Crawford
R. Wielgos
WBS 121.04.04
Building Infrastructure
J. Hunt (M. Ball starting 9/1/20)
Team in place with many years of subject matter experience designing, maintaining and operating accelerators
M. McCusker-Whiting – AD/Controls – programmer
R. Crawford – AD/EE Support
R. Wielgos – FESS/Engineering (Electrical Engineer)
M. Ball – AD/MSD
Yurick Czajkowski – Contractor (Mechanical Engineer)

## Slide 14: Interfaces
Interfaces identified and managed through Master Interface (TC#ED00010433) Document
WBS 121.04.04
BldgI
WBS 121.2.03 SSR
WBS 121.2.02 HWR
WBS 121.3.09 BI
WBS 121.3.08 SS
WBS 121.3.05 MagPS
WBS 121.3.04 LLRF
WBS 121.2.06 CDS
WBS 121.2.04 650 MHz
WBS 121.3.07 Cntrl
WBS 121.3.03 HPRF
WBS 121.3.02 AP
WBS 121.4.02 WFE
WBS 121.5.02 BSTR
WBS 121.5.04 TLBA
WBS 121.6.04 UtilB
WBS 121.6.05 Cmplx
Top 3 interfaces:
High-power RF system
LLRF system
Magnets

## Slide 15: Scope Boundaries for BldgI – Electrical Systems
Conventional Facilities
AC Power Distribution up to disconnect switches
Cable Tray and Penetrations
Building Infrastructure
Works with CF during A/E design phase
Procures standard cables, connectors, racks
QC checks, hands off to installation L3s
Linac Installation and Beam Transfer Line Installation
Pulls and terminates cables, installs racks, and commissions

## Slide 16: Baseline Costs
121.04.04.02 Inst – Building Infrastructure – Cable Database and Layout 121.04.04.04 Inst – Building Infrastructure – Electrical Systems

## Slide 17: FTE Breakdown
0.20
0.40
0.60
0
0.80
FTE

## Slide 18: FTE Breakdown
Labor to support
design for Linac Complex and
Utility Plant
Electrical Eng. to support procurements of
Cables/connectors/racks/grounding
Time-phase materials delivery/QC
0.20
0.40
0.60
0
0.80
FTE
Installation at Utility Plant

## Slide 19: Schedule Summary – Design Phase

## Slide 20: Schedule Summary – Procurement/Installation

## Slide 21: Questions?