## Slide 1: Target Complex – VE Reduction of the Service Bay
Keith Gollwitzer for the TC TMs
July 29, 2020

## Slide 2
Removes floor space and need for pillars
Still require cooridor to access Raw room. Will still need to have area outside of the RAW room for planned equipment
What will be the new crane coverage?

## Slide 3
Mezzanine becomes a floor?
Will still need the crane to lift equipment for installation onto mezzanine
CF will need to address how we get equipment into upper floor rooms

## Slide 4: Loss of floor space/hi bay volume
Module/horn assembly and mock work cell
  Will require proposed new TSIB building to be able to
    Construct modules
    Have building height for testing of mating horn/baffle to module
    Floor space for mock work cell
Stripline construction of sections
  Most likely will do it in current MI-8 building
Remote Handling Equipment Storage
  Will have to plan out space in either (access limited) target hall or elsewhere

## Slide 5: Other thought(s)
Crane reach and how to get equipment to he upper level is a concern
Depending upon the west side berm wrapping around the south face, the area could become a hardstand for gas trucks?