## Slide 1: A2D2 Operational Meeting
Michael Geelhoed

## Slide 2: Upgrade and Status
Machine errors
  Down to ENSW, CARR, FOIL Errors
  With a new control board
  Not Ideal, but beam available with interlocks bypassed
Acceletronics PO has passed
  Technician on site August 20th to continue troubleshooting
Computer battery Dead
  Either new battery $150
  New computer ~$2,600
Procurements
  HX PO #667964 Delivery Est. Sept
  Low Dose Films Pur Req #311174

## Slide 3: Work and Samples on the horizon
Stonybrook (SUNY CRADA)
GWRC Ballast Water (CRADA)
NIU/DuPage (NPUA)
Regher Solar (SPP)
PPD CMS Detector Boards (Internal)
APS-TD Nb Cavity (Internal)
FDA (CRADA/RCA)
APTIM Leachrate (CRADA/SOW pending)
MWRD (~ months)
EERE 3M
SRNL