## Slide 1: A2D2 Operational Meeting
Michael Geelhoed

## Slide 2: Upgrade and Status
Machine errors
  Down to ENSW, CARR, FOIL Errors
  Acceletronics PO has passed
  Technician on site August 27th to continue troubleshooting
Computer battery Dead
  Either new battery $150
  New computer ~$2,000
Procurements
  HX PO #667964 - Delivered
  Low Dose Films Pur Req #311174

## Slide 3: Work and Samples on the horizon
NIU/DuPage (NPUA)
Stonybrook (SUNY CRADA)
GWRC Ballast Water (CRADA)
Regher Solar (SPP)
PPD CMS Detector Boards (Internal)
APS-TD Nb Cavity (Internal)
FDA (CRADA/RCA)
APTIM Leachrate (CRADA/SOW pending)
MWRD (~ months)
EERE 3M
SRNL