## Slide 1: MQXFA04 SG Data in Quench Tests（Up to Current Holding at 16.67 kA）
H. Pan
09/04/2020
LBNL

## Slide 2: MQXFA04 SG Gauges Layout
Only HBM gauges are installed.
Shell gauges --- three axial locations:
  Shell gauges (T & Z): on shell 2, 4, & 7
Coil gauges (T & Z): on the axial location of 3989 mm (RE) from LE.
Rod stations are located on the RE
  Each station is full bridge with four individual gauges.
Only one of the strain gauges is not functional:
  One of the gauge on Rod 4 is damaged during rods handling.
LE
RE
MID
Shell 2
Shell 4
Shell 7
Coil Stations

## Slide 3: Cooldown SG Readings
The stresses are average stress: (MPa)
The Targets set for MQXFA04
The TF plots of MQXFA04
To get reasonable TF plot, the coil data pairs with the shell 7 data.
Average Coil stress is on target, the average stress of each shell is higher than target.
 |  | MQXFA04 (Target) | MQXFA04 (Meas.)
RT | Coil | -80 | -80.5 (-76.7 ---24 hr later)
 | Shell | 53 | 60
CD | Coil | -103 | - 97 (taking out the shift of Q3 reading)
 | Shell | 110 | - 135 (shell 7)
 | Shell 02 | Shell 04 | Shell 7
R.T. | 60 MPa | 58 MPa | 63MPa
CD | 130 MPa | 128 MPa | 135 MPa
Measurements spread
Proposed target window
If take out the shift of the Q3 gauge after cooldown, the coil spread is as shown in dark blue:

## Slide 4: SG Readings in the Quench Tests (up to #6)
Q1
Q2
Q3
Q4
Coil 203
Coil 113
Coil 206
Coil 112

## Slide 5: Coil Azimuthal Strain (up to Q#6)
Inorm = 16.47 kA
LP Filter
Cutoff frequency: 2 Hz

## Slide 6: Coil Axial (up to Q#6)
Noisy signals in quadrant 1, 2 and 3.
Signals of quadrant 1 and 2 are distorted by magnetic field.
Inorm = 16.47 kA

## Slide 7: Coil Azimuthal Stress (up to Q#6)
Inorm = 16.47 kA
Absolute Stress:
Delta Stress:

## Slide 8: Corrected Coil Azimuthal Stress (up to Q#6)
Inorm = 16.47 kA
Absolute Stress:
Delta Stress:

## Slide 9: Shell 2 SG Readings (up to Q#6)
Inorm = 16.47 kA
Azimuthal
Close View

## Slide 10: Shell 4 SG Readings (up to Q#6)
Inorm = 16.47 kA
Azimuthal
Close View

## Slide 11: Shell 7 SG Readings (up to Q#6)
Inorm = 16.47 kA
Azimuthal
Close View

## Slide 12: Delta Azimuthal Stress of Shells in Q#6
Inorm = 16.47 kA
Shell azimuthal stress with shell 7 corrected data

## Slide 13: Rod Gauge Readings (up to Q#6)
Rod 1
Rod 2
Rod 4
Rod 3
LE view
Inorm = 16.47 kA
Full bridge configuration of each Rod’ SG station
LOST
Notes: Show the HBM gauge plot for comparison in this slide (for convenience)

## Slide 14: SG Readings in Current Holding at 16.67 kA
Q1
Q2
Q3
Q4
Coil 203
Coil 113
Coil 206
Coil 112

## Slide 15: MQXFA04 Coil Strain at 16.67 kA
Coil Azimuthal strain over time
Coil Azimuthal strain over I2
Inductive distortion on strain signals due to changings of dI/dt.
The “loops” on the right plot are formed by the ramp up and ramp down cycle due to magnetic field coupling.

## Slide 16: MQXFA04 Corrected Coil Strain at 16.67 kA
By averaging the ramp-up and ramp-down data, the inductive components are eliminated.
The corrected data shows above indicates that the coils behave similarly in the quenches, and there are no anomalies observed.
According to the corrected data, the preload stresses in coils can be determined from the right plot:
Coils | Preload stress (MPa)
Coil Q1 | -118
Coil Q2 | -120
Coil Q3 | -98
Coil Q4 | --107

## Slide 17: Corrected Coil Stress at 16.67 kA (MQXFA Magnets)
MQXFA03
(Q3 coil gauge lost)
MQXFA04