## Slide 1
SRF Infrastructure
Mark Pendleton (STFC) & Tim Ring (Fermilab)
PIP-II Technical Workshop
Feedback / Plenary Session 04 December 2020

## Slide 2
Summary from Day 1 (Wed 02 Dec) 1 of 3
System walk-downs
System | Speaker | E-mail
Overview | Mark Pendleton | mark.pendleton@stfc.ac.uk
Cryogenics | Andrew May | andrew.may@stfc.ac.uk
RF Power | Paul Smith | paul.a.smith@stfc.ac.uk
Vacuum Systems | Stuart Wilde | stuart.wilde@stfc.ac.uk
Key points:
Cryogenics
What is rate of cool down for 3 cavities on vertical test stand? Thermal gradients? Further discussion required with FNAL on requirements for these;
Should consider position of thermometry (possible mini-R&D project);
Requirement to test bare cavities? Further discussion will be required here as well
Consider incorporating magnetic field sensors for vertical tests;
Cross-reference capabilities across collaboration for radiation monitoring.

## Slide 3
Summary from Day 1 (Wed 02 Dec) 2 of 3
Key points:
RF Systems
How best to undertake comparative checks on cavity performance between different laboratories. What condition (jacketed, un-jacketed) should the cavity be in?
Vacuum Systems
Calibrated vacuum leak sources – STFC to investigate options with a view to developing a standard approach across the collaboration.
Fermilab and STFC to discuss slow pump, slow vent and purge rates in more detail

## Slide 4
Proposed infrastructure build
Presented by Mitchell Kane (mitchell.kane@stfc.ac.uk)
Key points:
Proposed arrangement for side-by-side cold mass assembly stations to be re-visited.
STFC to consider manpower availability – can 2 stations be staffed?
Are Fermilab designers considering constraints of infrastructure at other sites?
Space required around the Work Stations for movement of tools, equipment and components to be revisited by STFC.
What is option B if…
a defective cavity needs to be removed during cavity string assembly?
work needs to be paused on a cold mass assembly?
a cryomodule needs to be ‘parked’ whilst additional tests are carried out?
Closer collaboration: Arrange routine, all-parties technical meetings on infrastructure.
Summary from Day 1 (Wed 02 Dec) 3 of 3

## Slide 5
Summary from Day 2 (Thur 03 Dec) 1 of 4
Topic | Speaker | E-mail
Cryogenic System Acceptance Testing | Shrikant Pattalwar | shrikant.pattalwar@stfc.ac.uk
Facility Preparedness and HPR Considerations | S.K.Suhane Stuart Wilde Dave Mason | suhane@rrcat.gov.in stuart.wilde@stfc.ac.uk Dave.mason@stfc.ac.uk
Data systems overview - SuraBee | Jane Hathaway | jane.hathaway@stfc.ac.uk
Data transfer mechanisms | Kieran Cheetham | kieran.cheetham@stfc.ac.uk

## Slide 6
Key points:
Testing is conducted based on an agreed verification plan;
High-level validation of system performance is measured against the 'concept of operations' for the plant.
Facility Preparedness & HPR
There are multiple drivers that shape infrastructure – including the design of the CMs themselves and the agreed production methodology.
Detailed discussions on HPR methods – especially spray pattern – will drive future, focused meetings. HPR validation & verification testing to be agreed across all parties.
Summary from Day 2 (Thur 03 Dec) 2 of 4
Cryogenic Systems Acceptance Testing

## Slide 7
Key points:
SuraBee is an in-house, Sharepoint based system for managing work-flow. It is currently deployed in the ESS project. It can.....
Provide instruction on how to execute work;
Record performance and physical attributes of components;
Log non-conformance reports for management action;
Generate travellers as records of all work done and tests conducted.
It will be further developed for PIP-II
Summary from Day 2 (Thur 03 Dec) 3 of 4
Data Systems Overview

## Slide 8
Key points:
Need agreement on what, when and how data is to be delivered, and the format of that data.
Data is generated from physical systems. Agreeing data requirements early is key to building an infrastructure 'solution' that can deliver the data required.
Data from the manufacturing process has a number of 'customers' through the life of the machine. It can only be created once. We need to ensure we understand the 'through-life' data requirements s we can build a facility that records data to meet all future requirements.
Summary from Day 2 (Thur 03 Dec) 4 of 4
Data Transfer Mechanisms