## Slide 1
Overview
Eric James
DUNE Networking Workshop
October 14, 2020

## Slide 2: Context
As the LBNF/DUNE project moves towards being baselined in 2021, need to have a clear picture of all necessary scope and a firm understanding of all sub-project interfaces
Sorting out requirements and responsibilities for networking at the Far Site has been particularly challenging due to its large number of interfaces
  System will service multiple consumers
  System will likely be assembled from components that fall under the responsibility of multiple providers

## Slide 3: Far Site Network Consumers
Detector DAQ
Detector Controls and Monitoring
Cryogenic Controls and Monitoring
Facility Controls and Monitoring (including SURF underground safety systems?)
General Networking (e.g. wi-fi in the underground areas)
DUNE Computing

## Slide 4: Potential Far Site Network Providers
LBNF - Conventional Facilities Sub-project
LBNF - Cryogenics Sub-project
Integration Project
DUNE – DAQ Consortium
FNAL Computing
ESNET (DOE)

## Slide 5: Process
Foresee two-step process:
  Finalize technical plan for what is needed (starting with today’s discussion)
  Discuss with potential providers about who will take responsibility for different systems components
Will also need to understand how system is maintained once it has been installed and commissioned

## Slide 6: Framework
At a high-level, I think we envision two independent networks (a detector network and a technical network for everything else)
The two networks would likely have different uptime and redundancy requirements
  Technical network should be secured with ~2 hours of UPS and then by a diesel generator to cover longer down-times
  Technical network should be accessible via an emergency satellite link in case of emergency
  DAQ requirements should drive the design of the detector network

## Slide 7: Today’s Agenda
Far Site CF Networking Plans (J. Fowler)
Connection to ESnet (M. Kirby)
Networking proposal from FNAL computing (B. King)
DUNE DAQ/Slow Controls Networking Plans (G. Lehmann-Miotto)
Cryogenic Networking Plans (D. Montanari)