## Slide 1: ADMX Cold Electronics Overview
Nov 16th, 2020
Collaboration Meeting
Gianpaolo Carosi

## Slide 2: Cold Electronics Group
Additional members
Jonah Hoffman (WUSTL grad student)
Prof. John Clarke (UC Berkeley) Microstrip SQUID Amp (run 1A)

## Slide 3: JPA Circuit (slide from Akel Hashim)

## Slide 4: JPA Phase as function of VNA power (slide from Akel Hashim)

## Slide 5: JPA Phase as function of VNA power (slide from Akel Hashim)

## Slide 6: JPA and TWPA Layout
JPA from UC Berkeley
TWPA from Lincoln Lab
SQUIDADEL components in the blue box region (single temperature stage)
Main Cavity (JPA)
Sidecar Cavity (TWPA)

## Slide 7: JPA System for run 1C
Currently have 1 untested backup at LLNL (looking to test in fridge next few weeks)
Several more chips that we can get

## Slide 8: 1 calibrated sensor (SQUID_JPA_Temp) and several RuOx from WUSTL

## Slide 9: Nested design with magnetic components on outside
3 layers of A4K magnetic shield
Clamshell design (FNAL)
Switches and circulators on outside

## Slide 10: Initially tested at LLNL (future SQUIDADEL tests at WUSTL)
DC wiring goes to two 24-pin micro-D female connectors
  Temp sensors (ordinary wire)
  Flux Bias & switches (NbTi superconducting)

## Slide 11: Initial test is low power VNA sweep (<-130 dB on chip) tuning flux bias
Monitor unwrapped phase and confirm that the phase changes as a function of current (flux bias)

## Slide 12: Find pump power & frequency and optimize gain & SNRI
Turn up VNA until you achieve sharp response (this tells you the approx. pump power)
Set pump tone power & frequency to region close to sharp transition. Optimize SNRI (adjust power & freq while keeping flux current constant).
More details to follow in noise and SNRI discussions (and SQUIDADEL testing report from LLNL)

## Slide 13: Installed in ADMX Insert
System installed Winter of 2019
JPA operational
TWPA unfortunately damaged (we have 2 spares though)
More details on operations in next talks.