## Slide 1
LDRD update
Brendan Casey, July 27, 2020

## Slide 2: Evolving plans
We haven’t been able to get a vendor to coat in the quantity we want
  Haven't done an exhaustive search either
  Recal that minimum quantity order from last vendor was about 60k worth of material (10k for Al, 50k for Al+Au)
Don’t want to commit to that purchase when we still have questions about the coating to investigate
We are proceeding with designing and constructing a permeation test stand to try and understand what the minimum thickness of coating we can get away with and also study gap/overlap/butt seams.
  We started this but the engineer got so we are basically starting again
  This would use ~2in square samples so there are lots of vendors who can do this coating.

## Slide 3: Vacuum chamber type
Evacuated and then back filled with a known gas. Back fill to ATM
Evacuated and then closed to do rate of rise measurement
Boundary is something like a grid of small holes that are small enough to hold the pressure differential but has enough holes so the measurement doesn’t take forever

## Slide 4: Gas sensor type
Filled with gas mixture A + B
Still would like some pressure differential so that the measurement doesn’t take forever
Boundary is something like a grid of small holes that are small enough to hold the pressure differential but has enough holes so the measurement doesn’t take forever
Filled with gas A and has a sensor that can measure the concentration of gas B

## Slide 5: Conclusions
Not a lot of progress but expect this to pick up after the holidays