## Slide 1: Hydrostatic Level Systems at Fermilab and SURF
J Volk, V Shiltsev
Fermilab
A Chupyra, M Kondaurov, S Singatulin
Budker Institute of Nuclear Physics
D Fratta, A Meulemans, C Potier, H Wang
University of Wisconsin Madison

## Slide 2: Systems
 | Location | Sensor type | Number of sensors | Separation
MINOS-2 | MINOS hall Fermilab | SAS-E | 10 | 10 m
LaFarge | North Aurora Ill | SAS | 5 | 30 m
Array C | SURF Lead South Dakota | SAS-E | 6 | 30 m
NML | NML Fermilab | SAS | 4 | Varies
MP7 | MP7 Fermilab | ULSE | 3 | 20 m
Stability test | MP8 Fermilab | SAS | 12 | 
MT ULSE | MP8 Fermilab | ULSE | 12 | 1 m

## Slide 3: Inactive Systems
 | Location | Sensor Type | Number of sensors | separation
Array D | 4850 ft level SURF | ULSE | 12 | 7 m
B0 low beta quads | B0 Tevatron | SAS | 9 | Varies
D0 low beta quads | D0 Tevatron | SAS | 9 | Varies
Tev quads | Tevatron quads | Balluff | 204 | 30 m

## Slide 4: MINOS Near Detector
MINOS is the Fermilab
Neutrino oscillation
Experiment
The near detector is
Located on site
100 meters below grade

## Slide 5: MINOS Near Detector

## Slide 6: MINOS layout
MINOS Detector
Nova Cavern
under construction
North
2006
2008
2012

## Slide 7: MINOS-2
10 m
Single pipe half filled system

## Slide 8: Typical MINOS data August 2012 5 days of data
FFT of data
Time plot difference
Of two sensors

## Slide 9: MINOS-2 Data Feb 2012 to August 2012

## Slide 10: Road Header used to excavate the Noνa near detector hall extension

## Slide 11: LaFarge Mine

## Slide 12: Level 1 of LaFarge Mine
34 hectares mined out Level 1
Drifts 20 meters wide by 20 meters high

## Slide 13: Difference in two sensors 120 meters apart
weekend

## Slide 14: Difference in two sensors 120 meters apart June 2008 to Jan 2009
Conveyor breakdown

## Slide 15: Difference in two sensors 120 meters apart June 2008 to Jan 2009

## Slide 16: Difference in two sensors 120 meters apart June 2008 to Jan 2009
Nov 2008

## Slide 17: LaFarge East West Array Jan 2011 to Aug 2012

## Slide 18: Tohoku Earth quake March 2011
Mine blasts
Earth Quake

## Slide 19: Sanford Underground Research Facility
Max water level
Current level
Holding 600 ft

## Slide 20: Surface view of SURF
North
Ross shaft
Yates shaft

## Slide 21: Array C layout

## Slide 22: HLS at 2000 ft level on rock bolt shelf
Rock bolt
Sensor
Air line
Water line

## Slide 23: Difference in two sensors 2000 ft level SURF

## Slide 24: Tohoku Earth quake March 2011
Earth quake

## Slide 25: Difference in two sensors 60 meters apart SURF 2000 foot level

## Slide 26: 4850 ft level SURF installation

## Slide 27: 4850 ft installation SURF
Sensors 5 and 6
Sensor 9
Sensor 11
Computer and
switch

## Slide 28: Difference in two sensors 4850 ft level

## Slide 29: Difference in two sensors 4850 ft level SURF

## Slide 30: ATL law
The ALT law states that motion between two points goes as
Where;
T is the time between measurements
L is the separation between the points
A is a constant in µ2 per second per meter
By comparing the double differences for sensors
(D1-D2)- (D2-D3)
at various time slices the A constant can be computed.
Corrections are made for constant drift of sensor such as in array C.

## Slide 31: A values as a function of depth
System | Sensors | Double differences | Separation m | Depth m | Average A µ2/s/m
LaFarge mine | 4 | 3 | 30 | 110 | 1.61 10 -5
MINOS-1 | 4 | 3 | 30 | 100 | 3.01 10 -5
MINOS-2 | 7 | 6 | 10 | 100 | 3.91 10 -5
Array C | 6 | 2 | 20 | 680 | 8.85 10 -7
Array D | 12 | 8 | 7 | 1650 | 6.02 10 -7

## Slide 32: NML system for Project X

## Slide 33: NML Data L0-L1

## Slide 34: Long Base Line Neutrino LBNE
To save construction costs a the beam will be
extracted upward from the Main Injector.
There will be a hill 24 meters high to cover
the beam line.
Pillars to bed rock will be used to support the tunnel.
It is expected that the hill will settle over time.
Re use the Tevatron HLS system to monitor the
settlement soon after construction.

## Slide 35: LBNE Target Hall

## Slide 36: Cross section of LBNE tunnel
Ground level

## Slide 37: LBNE Beam Line

## Slide 38: Information
Hydrostatic Level Sensors as High Precision Ground Motion Instrumentation for Tevatron and Other Energy Frontier Accelerators
Published in JINST Fall of 2011 available at
http://dx.doi.org/10.1088/1748-0221/7/01/P01004
And on ArvicX
http://arxiv.org/abs/1205.1777
HLS data are available at
https://dbweb3.fnal.gov:8443/ilc/ILCGroundApp.py/index

## Slide 39: Conclusions
There are 7 active HLS setups
at Fermilab and DUSEL
All are highly reliable and
have taken data for years
Most used to monitor slow ground
motion
Able to detect tides, earth quakes,
and the shifting of earth

## Slide 40: Thanks any Questions?