## Slide 1
Frederique Pellemoine
TSIB HPT Lab Conceptual Design Review
01 April 2021
TSIB HPT Lab Introduction and Overview

## Slide 2: Scope of the Review
The intent of this review is to consolidate the concept of the High Power Targetry Lab with the priority on the design features that affect the construction design
Concrete walls and shielding
Safety features
  Nonradioactive features and radioprotection features
  Ventilation
Functionality of the lab
  Layout, scopes, workflow
  size of the hot cell suite

## Slide 3: Agenda

## Slide 4: Charge Questions
1/ Have the scope and requirements for the HPT Lab been adequately identified for this stage of the project?
  Scope and Requirements presentation
  Scope and requirements draft document
2/ Have the risks for operation of the HPT Lab been adequately identified for this stage of the project?
  Workflow, Safety, Hazards and mitigation plan presentation
  Workflow document
  Scope and requirements document (for Hazards and mitigation plan)
3/ Does the conceptual design (and associated documents) presented satisfy the scope/requirements and adequately address the risks?
  Design presentation
4/ Does the conceptual design reflect current best practices and incorporate lessons learned from other similar facilities?
  Lessons Learned presentation
Charge 1
Charge 2
Charge 3
Charge 4

## Slide 5: TSIB | Target Systems Integration Building
MI-8 is unable to accommodate the existing horn needs concurrent with an accelerated LBNF schedule, additional high bay space is needed to meet production capacity that are expected to double
  Highbay: support area for Targetry component production and inspection
  Mezzanine: LBNF Horn Component Storage and Remote Handling & Robotics Lab Area
  High Power Targetry (HPT Lab)
Current MI-8 Building
New TSIB Building
Conceptual Massing Study of TSIB addition to existing MI-8 Service Building, March 2020
HPT Lab
Mezzanine
Highbay

## Slide 6
Existing future experiment schedules require additional space / capacity by October 2025.
If LBNF schedule is accelerated, then demand for additional space & capacity will also need to be accelerated.
Current MI-8 facility is unable to accommodate the existing horn needs concurrent with an accelerated LBNF schedule.
LBNF risks losing a competitive advantage if delayed.
Impact of Accelerated LBNF Schedule
REMINDER: from HEP presentation in March 2020
A. Federowicz | TSIB FSO Presentation

## Slide 7
Existing future experiment schedules require additional space / capacity by October 2025.
If LBNF schedule is accelerated, then demand for additional space & capacity will also need to be accelerated.
Current MI-8 facility is unable to accommodate the existing horn needs concurrent with an accelerated LBNF schedule.
LBNF risks losing a competitive advantage if delayed.
Impact of Accelerated LBNF Schedule
REMINDER: from HEP presentation in March 2020
As of Jan 2021, the accelerated LBNF schedule is affirmed
A. Federowicz | TSIB FSO Presentation

## Slide 8
January 2023
Beneficial Occupancy
October 2023
Deadline to start LBNF Horn production at TSIB
*At this time, MI-8 is operating at capacity, unable to produce LBNF Horn’s A, B, and C concurrently as scheduled.
*At this time, setup/outfitting activities at TSIB need to start
TSIB Integrated Schedule
At MI-8 and TSIB
Assumes A/E Final Design Starts Q2 FY21 February 2021
2-month delay
AT RISK
AT RISK

## Slide 9
EXIST. MI-8
Not pictured:
Sampling & Storage System
Portable Jib Crane
Horn Transport Carts
Remote Vision System
Vestibule storage cabinets
Shelving rack
Contingency Spend Down
Funded by TSIB GPP (as risk is retired)
Steel Tables
Scaffolding
Telemanipulators
Pb-glass Windows
Small Passthroughs
Large Passthrough
Fume Hood
Module Assembly
Funded off project (LBNF and AD Operations)
HIGHBAY
HPT LAB
CONNECTOR/
ENTRANCE
Contingency Spend Down VS. Funded off Project
PROJECT SCOPE

## Slide 10: Conceptual Development
Reduced Height = 53’-6”
(10’-0” shorter than previous)
Method of horn construction changes allowing shorter building height
Outline of building section at 63’-6”

## Slide 11: High Power Targetry (HPT) R&D is a Critical Need for HEP
Capability of High Power Targetry is critical for current and future accelerators as beam intensity and associated challenges increase.
R&D will enable high-power accelerator target facilities (e.g. LBNF/DUNE, PIP-II experiments, future HEP Program)
  Recognized by HEPAP: “Realizing a multi-MW proton source to provide neutrino beam intensities at Fermilab beyond PIP-II project will require significant further R&D on targets and focusing systems, concentrated on tolerance of materials to radiation effects of intense beams.”*
  RaDIATE collaboration (Radiation Damage In Accelerator Target Environments)
    Fermilab founded in 2013 and acts as Program Coordinator
  Fermilab’s HPT R&D Program supported by DOE OHEP General Accelerator R&D Program since 2012 (GARD)
Materials research has been the primary path of advancement
  Radiation damage modification of material properties
  Novel material development
Additional Challenges are:
  Thermal Shock
  Radiation Transport Simulation and Validation
  Modeling to better predict target lifetime
  Remote Handling
  Accelerating Discovery," [Online]. Available: https://science.energy.gov/hep/hepap/reports/
  Particle Physics Project Prioritization Panel (P5), "Building for discovery: Strategic Plan for U.S. Particle Physics in the Global Context," 2014.
NuMI-MINOS target: cracked graphite fins
Stress Concentration

## Slide 12: High Power Targetry (HPT) R&D is central to TSIB’s Purpose
Activated materials lab area (including hot cells)
  Targetry material research on items removed from service and specimens from dedicated accelerator irradiations
  Quality assurance and post-service investigations of used target station devices as part of continuous improvement within operations
In conceptual design stage
  Project Plan (being finalized)
  HPT R&D Group (F. Pellemoine) working with ES&H on finalizing scope of work and developing planning/design documentation
  Development and operation of the HPT R&D Lab will fall within the scope of the Fermilab SAD (Safety Assessment Document) and comply with the FRCM (Fermilab Radiological Control Manual), FESHM (Fermilab Environment, Safety and Health Manual), and FEM (Fermilab Engineering Manual)
  Integral part of TSIB scope since inception
P. Hurh | TSIB FSO Presentation