## Slide 1: DOE 2011 Fermilab Materials and Radiological Clearance Operations
Implementation and Status of Corrective Actions
Sue McGimpsey
February 1, 2012

## Slide 2: Observation #1
  Observation 1: Moratorium and Suspension policies as implemented, would benefit from clarification by DOE Headquarters.
  Recommendation 1: Fermilab should review and revise applicable plans and procedures to implement policy clarifications, such as reduction of the number and size of radiological areas and resume material clearance operations consistent with the observations and recommendations found in this report.
  Corrective Action: Subsequent to DOE-FSO approval, Division/Section/Centers would be permitted to posting areas in accordance with their current conditions in accordance with the DOE-approved RPP for 10CFR835 and the FRCM.

## Slide 3: Observation #1
Implementation: Each Division/Section/Center should review their
areas and verify that the posting is consistent with the current
conditions. Down post as appropriate.
Status: Completed by 4/1/2012
Responsible Party: Division/Section/Center RSOs

## Slide 4: OBSERVATION #2
  Site implementation of Suspension guidance is applied in a very conservative manner. Procedures used to implement the suspension and moratorium policies include Radiological Materials Areas (RMA) although RMA is not a 10CFR835 defined radiological area.
  Recommendation 2a: The Railhead Procedure should be corrected to eliminate an RMA from being designated as a 10CFR835 defined Radiological Area.
  Recommendation 2b: The site should enforce segregation of Group 1 and Group 2 materials to reduce the risk of co-mingling of suspect radiological contaminated material with uncontaminated items obtained from non-process areas of the laboratory.

## Slide 6: OBSERVATION #2
Corrective Action: Upon approval of these actions by DOE-FSO, items
subsequently being removed from RMA will no longer be subject to the
suspension, but will remain subject to the materials survey and release
provisions of the FRCM.
Implementation: Update the Railhead Procedure. This is now under
revision.
Radioactive Material Areas now specifically defined as NON-Radiological areas. Nonradioactive items removed from RMAs, are now classified as Group 1, and will be identified accordingly on the MMR.

## Slide 7: OBSERVATION #2
There is also clarification regarding the placement of materials inside the Railhead. e.g. weight restrictions.
Status: Completed by March 1, 2012
Implementation: Update the Railhead inventory map.
Indicates the location of all materials located at the Railhead. Group 1, Group 2, Class 1 etc.
Status: Completed April 1, 2011
Responsible Party: BSS/ESH

## Slide 8: OBSERVATION #3
  Documentation of truck monitor use for radiological and materials release processes could be improved.
  Recommendation 3: Fermilab should consider applying additional rigor and formality to the use of the truck monitor to evaluate loads of materials leaving the site.
  Corrective Action: Revised procedures for the truck monitor have been developed and will be incorporated in the Railhead procedure document.

## Slide 9: OBSERVATION #3
Implementation: Update the Railhead procedure. This is now under
revision.
The changes now require positive confirmation, with signatures, that the vehicle has successfully passed through the scrap monitor.
Status: Completed by March 1, 2012
Implementation: The BSS “Scrap Shipment” Form has been updated
showing this confirmation, with signatures from the vendor and BSS
personnel.

## Slide 10: Observation #3
Incoming gondolas must also successfully pass through the monitor. Signature confirmation also required by BSS and the Vendor.
Status: Completed May 1, 2011
Responsible Party: BSS/ESH

## Slide 11: Observation #4
  Fermi Radiological Control Manual (FRCM) requirements, as reviewed, for the release of material are not being consistent implemented across Divisions.
  Recommendation 4: Review and revise site and divisional procedures for materials release to ensure consistency and to meet performance mandates as required within the Secretarial policy.

## Slide 12: Observation #4
Implementation: Documentation review within AD and PPD.
Fermilab has taken this as an opportunity to perform a thorough documentation review for the release of metals entering the
recycling stream. It has been verified, that AD and PPD both rely on the FRCM, and no inconsistencies between the two Divisions was found. No further action is necessary.
Status: Completed on 1/25/12
Responsible Party: AD ESH/PPD ESH

## Slide 13: Observation #5
  Material Movement Release form and relevant information could be improved.
  Recommendation 5: Develop a single Material Movement Request form that includes all relevant information to strengthen and formalize the radiological and materials release process to include all material movement documentation.
  Corrective Action: A single MMR form has already been instituted. The version used internally within BSS for other purposes has been renamed as ‘Scrap Shipment Request’ form to remove the point to confusion identified in the review. The old MMR forms are no longer accepted by BSS. Individuals trained in MMR surveys will be supplied updated information on the use of the new forms.

## Slide 14: Observation #5
Implementation: MMR form has been updated.
The form now introduces more of an assignment of responsibilites when
determining if an item is radioactive.
Updates include the addition of instrument information, such as instrument # and calibration date.
For BSS verification, instrument source check, battery check and background reading are also included.
Status: Completed 5/1/2011; old forms not accepted after 3/1/2012
Responsible Party: BSS/ESH

## Slide 15: Observation #6
  Return of radiation survey instruments due for calibration needs to be improved to ensure that instruments that are out-of-calibration are not available for use in the field.
  Recommendation 6: Fermilab management should support a more robust notification and return policy of radiological instruments to ensure that out-of-calibration instruments are not available for use in the field for radiological and materials clearance purposes.
  Corrective Action: In response to this review, more robust measures have been taken to assure the return of instruments. As a result, performance in this area is much improved.

## Slide 16: Observation #6
Implementation: Continued diligence on getting out of calibration instruments returned,
which includes monthly summaries/instrument status sent out by RPCF. Additional
efforts and involvement by the RSOs may be necessary, if a decline in the performance is
indicated in the future.
On a case by case basis, a follow up email notification from RPCF was sent directly to the person who checked the instrument out. Great improvement noted.
Since the MMR form has been updated to include the instrument calibration date, this will help ensure that out of calibration instruments are not used.
Status: Completed 5/1/11
Responsible Party: RSOs/ESH Instrumentation Team

## Slide 17: General Corrective Action
Once DOE-FSO approval of these actions is granted, additional instructions will be provided to the Fermilab staff before initiating any change in procedures with respect to the release of materials originating from RMAs.
Implementation: Lab wide communication that the definition of RMAs is
now consistent with 10CFR835, for recycling metals.
ESH Newsletter, Internal Memos, Training
Status: Completed by April 1, 2012
Responsible Party: All Divisions/Sections/Centers