## Slide 1
Darren Crawford
July 15, 2021
Open Discussion and Closeout
Workshop on Maintaining PIP-II within the Accelerator Complex

## Slide 2
To all of our presenters - Thank you.
PIP-II Uptime, Availability, Maintainability, and Operability Requirements – Eduard Pozdeyev
Accelerator Complex Uptime and Availability in the PIP-II Era and Interfaces Between PIP-II and AC – Mary Convery
Cryoplant and CDS – Ben Hansen
Interfaces with CF/Lab Infrastructure and FESS – Steve Dixon
FESS Electrical Infrastructure - Randy Wielgos
Cryoplant and Linac Operations at SNS – Matt Howell
Utilities (water, air, electrical) – Maurice Ball and Ryan Crawford
SRF – Joe Ozelis
Accelerator Systems (Controls, Instrumentation, RF, Vacuum) – Elvin Harms

## Slide 3
Recommendations and actions:
Evaluate impact of increased power requirement on electrical infrastructure. Understand requirements.
How do we take advantage of 1.5 year downtime to upgrade/update AC systems and increase reliability of accelerator chain?
Expand electro de-ionization technology to the rest of the AC (especially Main Injector).
Can we take advantage of shorter scheduled downtimes (switchgear)?
How long will maintenance be for LBNF target and is there a redundancy?
What redundancies are built into AC to increase beam availability?
Analyze Linac warm up time and maintenance scenarios or warm up duration.
What are water maintenance activities for shutdown and duration?
No spare compressor body or motor for the cryoplant. Needed to reduce unexpected downtime. How can these be purchased? Who pays?
Need to investigate Cryo global data management for spares and PM.
Do we need a backup generator for Controls at PIP-II? Currently, PIP-II RF gallery is underutilized. Can MAC room have a generator?
MIRF cavity rework for 2 MW.
Create a matrix of systems that affect cryo. What are the impacts of these systems to the CP? Duration of each?
PIP-II and AC yearly scheduled shutdowns - 8 weeks vs 12 weeks – what investments can be made to reduce the duration?

## Slide 4
Charge
Understand the projected beam availability per year of the Accelerator Complex (AC) in the PIP-II era. What drives the duration of yearly planned AC shutdowns and can the duration be shortened?
Define the operational expectations for PIP-II, especially with regards to cryoplant and cryomodules during scheduled AC shutdowns. Is the design of PIP-II systems compatible with the operational requirements?
Identify the interfaces between the AC, Lab infrastructure and PIP-II. What are the expectations for maintenance and operation? Are there redundancies in systems to maintain operability?
PIP-II Operational Requirements
Scheduled maintenance per year – 8 weeks
SRF Linac operational availability – 90%
SRF Linac must not be thermocycled (temperature kept below ~20K), preferably, for lifetime of the facility, including maintenance shutdowns