## Slide 1
MATF/FSD Cryostat Update-10-20-21
Jay Jablonski
TPC A&T Meeting
October 20, 2021

## Slide 2
    Current Cryostat

## Slide 3
    1550mm Cryostat ID

## Slide 4
    1750mm Cryostat Flange OD

## Slide 5
    4502mm Floor-Utility lid Height

## Slide 6
    8102 mm Floor-Utility lid at Lifted Height

## Slide 7
1
4
3
5
6
7
8
9
2

## Slide 8
    1-LAr Supply-Top
    1.2” ID Supply Line
    CF-275-Supply
    3.0” OD Vacuum Jacket
    CF-463-VJ

## Slide 9
    2-Bottom LAr Return
    1.2” ID Supply Line
    CF-275-Supply
    3.0” OD Vacuum Jacket
    CF-463-VJ

## Slide 10
    3-Spare Warm GAr Supply
    1” Tube Supply Line
    CF-275
    No Vacuum Jacket

## Slide 11
    4-Cold GAr Return to Condensor
    1.5” Tube Return Line
    CF-275
    Vacuum Jacket

## Slide 12
    5-Pressure Relief
    3” Sch 40 Pipe
    3.5” od
    Rupture Disk shall be rated for vacuum
    Consider 2nd port

## Slide 13
    6-Depth Sensor
    1.38”ID x 1.5” OD Tube
    CF-275
    No VJ

## Slide 14
    7-Pressure Monitor
    1.5” Tube
    CF-275
    No VJ

## Slide 15
    8-Pneumatic Vent
    1.5” Tube
    CF-275
    VJ

## Slide 16
    9-Spare
    Possible Vacuum Port