## Slide 1
Linda Bagby
DUNE ArgonCube Engineering
January 14, 2022
DUNE-ND: Infrastructure Options

## Slide 2: Rack Protection System
Consists of two parts—chassis and smoke sensor (SS 2WT-B)
  Economical solution
  Design includes:
    System Sensor photoelectric smoke sensor.
    EPO (Emergency Power Off for UPS).
    +12V Voltage output interlock.
    Two sets of NO/NC interlock contacts, AUX1 and AUX2.
    Audible alarm.
    Front panel reset button.
    Status bit to Slow Controls.

## Slide 3: Power Distribution Options