## Slide 1: MI/RR Machine Status
Kyle J. Hazelwood
AD 09:00 Meeting
December 3, 2021

## Slide 2: NuMI Performance

## Slide 3: Muon Performance

## Slide 4: Main Injector Downtime

## Slide 5: Recycler Downtime

## Slide 6: Main Injector Slow Spill
Septa tank 2
Q520
Septa tank 1
Kicker 1
Kicker 2
Septa tank 2
Septa tank 1
Q520
Original installation had P1 Line extraction kickers at the higher Beta location
Kickers were no longer required and removed due to vacuum concerns.
During Shutdown 2021 the Septa were moved upstream to a higher Beta.

## Slide 7: Main Injector Slow Spill
Losses normalized to intensity have been reduced by over 50% at the extraction Lambertson
At the end of the 2021 Shutdown the AD/MI commissioning request was for 1 – 2 weeks of slow spill to the SY Dump to establish slow spill with the new Septa location.
  Due to events beyond our control that time was not available.
  AD/Operations put in fantastic tuning efforts to optimize slow spill out of the Main Injector and minimize losses.
    Special acknowledgment to Nathan and Karl for their efforts!
Chart: 
| LI520E | LI521A | LI522A
Old | 955 | 288 | 37.6
New | 244 | 163 | 19
Comparison of Losses Before Move and After Move
At 5e11 protons per spill
Downstream
End of Septa
Front Face of Lambertson
Front Face of Quad 521

## Slide 8: Summary
Issues
  Wednesday Access
    Replaced I:IP5232 and leak check area
    Performed DALE measurements
    Replaced pump head for MI52 pond pump
    Tried upgrading QXR processor
    Found MI60 3-way valve had failed during access
      Ran valve in hand over night
  Thursday
    Replaced loop controller card for MI60 3-way valve
Pending Issues
  Q123 has significant drip
    8 hrs
    TD inspected, thinks it can be fixed in place
    Would like to do this before the holiday break
  Next MI30 clean would fall on the holiday break
    We would like to push it earlier or later
  QXR processor upgrade was unsuccessful, looking for another opportunity
  MW811 has a dead motor
    Needed for lattice measurements
  MW814 has bad limit switch
    Needed for lattice measurements
  C838AH Negative Limit switch needs replacing
    Cant move collimator back in if moved out
Study Requests
  New Recycler Lattice Implementation
    2-4 hrs
    Intermittent beam to experiments, possible higher losses
  Recycler Scans
    Will do most days
    Under the $20, parasitic
  MI Slow Spill Harmonic Quad Study
    Need 2-3 hrs running to SY dump only
    This is to test new harmonic quad settings
    Perhaps December 15 during MTest changeout?
  MI Chromaticity Scans
    ~2 hours
    1.2s $2E to the MI dump