## Slide 1: Summary on DC offset tests
Jixia Li
NAOC
2022.1.19

## Slide 2
Noise signals of different levels are directly input to the ADC on the Cylinder correlator.
  -22dBm/125MHz to 11 dBm/125MHz
  Step: ~1dB
Raw data of length 2048 can be taken done by the program in the dedicated server.
  Clock=250MHz
  2048 points corresponds to
Tests done on March, 2020.
Raw ADC Samples @ different noise levels
teleconf@2021.9.8

## Slide 3: Raw ADC Samples @ different noise levels
The ordinate is fixed to the range of (-6000, 6000).
The ADC is saturated at .
teleconf@2021.9.8

## Slide 4: Mean Value of Raw ADC Samples @ different noise levels
Mean Value vs Input Power
Mean Value divided by variance vs Input Power
TODO: More samples needed?
teleconf@2021.9.8

## Slide 5: Correlation of 2 independent noise
2 independent noise generators were directly input to dish correlator: ch1 and ch3
teleconf@2021.9.15
AlgoSCR (Anh et al. 2022)

## Slide 6: Correlation of 2 independent noise
teleconf@2021.9.15
Bandpass?
2 independent noise generators were directly input to dish correlator: ch1 and ch3

## Slide 7
teleconf@2021.9.22

## Slide 8
Channels | Board1 | Board2
ADC1 | Ch1,2,3…8 | Ch17,18,19…24
ADC2 | Ch9,10,11…16 | Ch25,28,29…32
teleconf@2021.9.22
Channel inputs distribution of dish correlator

## Slide 9: Correlation of 2 independent noise – different levels
Noise signals directly input to ADC (very short cable this time).
teleconf@2021.9.22

## Slide 10: Problem found on the feed of Dish 7
Before 2020/10/27
Now
Use insulated rubber tape to avoid contact.
teleconf@2020.10.29

## Slide 11: Cross-correlation amplitude
Before 2020/10/27
Now
Dish 7
1-13
1-14
1-14
1-13
The problem can be traced back to 2016!!!
teleconf@2020.10.29

## Slide 12
teleconf@2021.9.15