## Slide 1: protoDUNE Slow Controls NP04 HD NP02 VD
CERN
##/02/2022
E. Gamberini, X. Pons

## Slide 2: DCS Supervisory control and data acquisition
Siemens link
Ignition link
PCView link

## Slide 3: WINCC OA Single System

## Slide 4: WINCC OA as Distributed System

## Slide 5: WINCC OA openness

## Slide 6: protoDune Single Phase - Slow Control layout

## Slide 7: Vertical Drift Coldbox Slow Control layout

## Slide 8: WINCC OA Step-by Step - Console
OPC UA - Manager parametrization
WINCCOA Driver number assignment

## Slide 9
WINCC OA Step-by Step
OPCUA Client URL parametrization

## Slide 10
OPC UA Step-by Step - Client URL parametrization

## Slide 11: Step-by –Step – OPC UA Item address parametrization item hierarchy

## Slide 12: protoDune - Cold Electronic interface specifications for Slow control integration
Cold Electronics – OPC UA Server URL
Cold Electronics – Item hierarchy
Configuration, parametrization , interlock in the SC (What we do with the items)

## Slide 13: protoDune - Cold Electronic interface specifications for Slow control integration
Cold Electronics – OPC UA Server URL
Cold Electronics – Item hierarchy
Wat we do with the data, configuration, parametrization in the SC

## Slide 14: protoDune 1- Purity Monitor integration in the Slow controls
Purity Monitor Rack
Labview Purity Monitor Control Software

## Slide 15: protoDune 1- Purity Monitor integration in the Slow controls
Purity monitor – Operation panel from NP04 slow controls

## Slide 16
protoDUNE 1 – CE integration in the SC by using DIM. WIB Data

## Slide 17
protoDUNE 1 – CE integration in the SC by using DIM

## Slide 18
protoDUNE 1 – SSP’s Info

## Slide 19: protoDUNE Single Phase Slow Control. HV integration Example
The data is transmitted to Real-Time controller, connected and integrated to the SCADA DCS program by means of the OPC UA driver for HV control, operation and monitor.
Ramp up by steps on 20/09/2021 at 9:40 PM
Ground Planes & Beam Plug discharge
event on 14/09/2018
VD SC SCADA
Heinzinger HV Control Panel
Slow Control
SCADA Software

## Slide 20
Vertical Drift Coldbox Slow Control Power Supply panels